## DATA ENTRY
Data | Number | Comments
EQUIPMENT DATA
Nuclear Medicine
Planar Gamma Cameras | 0
SPECT systems | 0
SPECT/CT systems | 0
PET/CT systems | 0
PET/MR systems | 0
Cyclotrons | 0
Thyroid probes | 0
Activity calibrators | 0
Sentinel lympth node probes | 0
Isotope generators (number of different types) | 0
Gamma counters | 0
Diagnostic/Interventional Radiology
CT Scanners | 0 | Both fixed and mobile scanners used for radiology, radiotherapy and the CT component of hybrid modalities. It does not include cone beam CT units for dental and angiography.
Fixed Radiographic units | 0 | Panoramic dental and CBCT units should be included here. Note digital detectors are counted separately as applicable.
Mammography units | 0 | Including both screen film and digital units, also including biopsy and tomosynthesis
Specimen Cabinet units | 0 | For Biopsy analysis
Fluoroscopy units | 0 | Includes both fixed and mobile C arm units used for basic fluoroscopy
Interventional Fluoroscopy units | 0 | Both fixed and mobile units used for this purpose
Portable radiographic units | 0 | Note digital detectors are counted separately as applicable.
Intra-oral dental x-ray units | 0
DEXA equipments | 0
CR Detectors | 0 | Number of plates
DR Detectors | 0 | Number of detectors (including detectors in fixed units)
Image display devices (primary/reporting per pair) | 0 | This applies only to primary interpretation stations.
MR scanners | 0
Ultrasound units | 0
Reading and Printing devices | 0 | CR readers and laser printers
Dark rooms - wet processors | 0
PATIENT DATA
Nuclear Medicine
Non-imaging procedures (per patient) | 0 | Such as blood sampling, thyroid uptake, sentinel lymph node mapping
Imaging procedures | 0 | Planar, SPECT(/CT), PET/CT
Outpatient radionuclide therapy procedures | 0 | e.g 131-Iodide Thyrotoxicosis
Inpatient radionuclide therapy procedures | 0 | i.e 131-I for thyroid carcinoma
Complex radionuclide therapy procedures | 0 | e.g 131-MIBG, 177 Lu, 90 Y
Pregnant patients | 0 | Estimated number
Diagnostic/Interventional Radiology
Interventional radiology and cardiology procedures | 0
Patient dose calculations for high dose procedures | 0 | Estimated number of cases for which the peak skin dose is expected to exceed 2Gy
CT procedures | 0
Planar procedures | 0
Pregnant patients | 0 | Estimated number
ORGANIZATION DATA
Departments
Diagnostic radiology departments | 0 | Typical department consisting of 3 CT scanners, MRI and 10 x-ray rooms. For much larger or much smaller departments adjust factors accordingly
Interventional radiology departments (catheterization labs) | 0 | Typical department consisting of 2 interventional units. For much larger or much smaller departments adjust factors accordingly
Nuclear Medicine departments | 0 | Typical department consisting of 4 imaging units. For much larger or much smaller departments adjust factors accordingly
Nuclear medicine Radionuclide therapy ward | 0 | A typical nuclear medicine therapy ward unit, consisting of 2-4 beds. For much larger wards, scale the number of ward units accordingly.
Medical Physics department |  | Complete only in case there is an independent medical physics department
Staff Data
Number of CQMPs | 0
Number of MP supportive staff | 0 | excluding residents
Occupationally exposed staff | 0 | Number of monitored staff
Complex staff exposure incidents evaluation | 0 | Estimated number, based on acceptable investigation levels
Risk assessment for staff | 0 | Estimated number of calculations of the cumulated doses or evaluation of foetal dose in pregnant workers
Equipment / Protocol development
Equipment renewal per year | 0 | Expected number of new equipment installed per year either in existing or new rooms
Development of new testing protocols | 0 | Either for completely new systems or for protocol redesign of existing systems
TRAINING DATA
Interdepartmental training
Number of CPD units required for CQMP | 0 | Based on national rules
Total hours of training delivered to staff annually | 0 | Including training in safety to staff that will include nurses, technologists, medical staff, etc.
Number of medical physics residents | 0

## RESULT ANALYSIS
Factors | FTE | Unit | result
EQUIPMENT DEPENDENT FACTORS
Nuclear Medicine |  |  | 0
Planar Gamma Camera | 0.02 | 1 | 0
SPECT system | 0.06 | 1 | 0
SPECT - CT system | 0.1 | 1 | 0
PET - CT system | 0.1 | 1 | 0
PET - MRI system | 0.1 | 1 | 0
Cyclotron | 0.5 | 1 | 0
Thyroid probe | 0.005 | 1 | 0
Activity calibrator | 0.005 | 1 | 0
SLN Probe | 0.005 | 1 | 0
Isotope generators (per type) | 0.005 | 1 | 0
Gamma counter | 0.005 | 1 | 0
Diagnostic/Interventional Radiology |  |  | 0
CT Scanner | 0.04 | 1 | 0
Fixed Radiographic unit (excluding detectors) | 0.01 | 1 | 0
Mammography unit | 0.02 | 1 | 0
Specimen Cabinet unit | 0.001 | 1 | 0
Fluoroscopy unit | 0.01 | 1 | 0
Interventional Fluoroscopy unit | 0.02 | 1 | 0
Portable/mobile radiographic unit | 0.004 | 1 | 0
Intra-oral dental x-ray unit | 0.001 | 1 | 0
DEXA unit | 0.001 | 1 | 0
CR detectors (per plate) | 0.001 | 1 | 0
DR detectors (per detector) | 0.004 | 1 | 0
Image display device (primary/reporting per pair) | 0.001 | 1 | 0
MR scanner | 0.04 | 1 | 0
Ultrasound unit | 0.002 | 1 | 0
Reading and Printing device | 0.002 | 1 | 0
Dark rooms - wet processor | 0.02 | 1 | 0
PATIENT DEPENDENT FACTORS
Nuclear Medicine |  |  | 0
Non-imaging procedures | 0.001 | 100 | 0
Imaging procedures | 0.002 | 100 | 0
Outpatient radionuclide therapy | 0.05 | 100 | 0
Inpatient radionuclide therapy | 0.001 | 1 | 0
Complex radionuclide therapy | 0.005 | 1 | 0
Pregnant patients (per patient) | 0.002 | 1 | 0
Diagnostic/Interventional Radiology |  |  | 0
Interventional Radiology and Cardiology | 0.02 | 1000 | 0
Estimation of skin doses per patient (high doses) | 0.002 | 1 | 0
CT procedures | 0.01 | 1000 | 0
Planar procedures | 0.001 | 1000 | 0
Risk assessment in pregnant patients (per patient) | 0.002 | 1 | 0
RADIATION PROTECTION RELATED FACTORS |  |  | 0
Departments |  |  | 0
Diagnostic radiology department | 0.05 | 1 | 0
Interventional radiology department (catheterization labs) | 0.05 | 1 | 0
Nuclear Medicine department | 0.2 | 1 | 0
Nuclear medicine Radionuclide therapy department | 0.1 | 1 | 0
MRI safety (per site) | 0.01 | 1 | 0
Staff Data |  |  | 0
Occupationally exposed staff | 0.01 | 100 | 0
Number of incidents involving complex staff exposure evaluation | 0.005 | 1 | 0
Individual risk assessment for staff | 0.001 | 1 | 0
SERVICE RELATED FACTORS |  |  | 0
Department administration of MP department | 0.2 | 1 | 0
Dose management programme (per department) | 0.04 | 1 | 0
Quality management including audits | 0.1 | 1 | 0
Equipment specification and evaluation (per procurement) | 0.02 | 1 | 0
Equipment Acceptance Testing (per equipment installation) | 0.02 | 1 | 0
Radiation protection advice for new fixed installations (per equipment installation) | 0.02 | 1 | 0
Testing protocol development | 0.05 | 1 | 0
TRAINING AND CLINICAL RESEARCH RELATED FACTORS
Interdepartmental training |  |  | 0
Number of CPD units required for CQMP | 0.02 | 40 | 0
Total hours of training delivered to staff annually | 0.002 | 1 | 0
Number of medical physics residents | 0.1 | 1 | 0

## RESULTS
|  | without efficiency of scale | with efficiency of scale
|  |  | Reduction Factor (RF) | 0.7
TOTAL NUMBER OF CQMP REQUIRED |  | 0 | 0 |  | *
REAL NUMBER OF CQMP |  | 0 | 0
DEVIATION FROM THE ALGORITHM
Total suggested supportive staff |  | 0 | 0
Number of residents |  | 0 | 0
Suggested supportive staff (excluding residents) |  | 0 | 0
REAL NUMBER OF SUPPORTIVE MP STAFF |  | 0 | 0
EQUIPMENT DEPENDENT FACTORS |  | 0
| Nuclear Medicine | 0
| Diagnostic/Interventional | 0
PATIENT DEPENDENT FACTORS |  | 0
| Nuclear Medicine | 0
| Diagnostic/Interventional | 0
RADIATION PROTECTION RELATED FACTORS |  | 0
| Department RP | 0
| Occupational protection | 0
SERVICE RELATED FACTORS |  | 0
TRAINING RELATED FACTORS |  | 0
| Interdepartmental training | 0