## ARMENIAN-2
2019 Operating Experience
AM-19 | [8 empty] | ARMENIAN-2 | [26 empty] | ARMENIA
Status at end of year | [7 empty] | : | Operational
Operator | [7 empty] | : | ANPPCJSC (Closed Joint Stock Company Armenian NPP)
Owner | [7 empty] | : | M.E. (Ministry of Energy and Natural Resources of RA)
Reactor Supplier | [7 empty] | : | FAEA (Federal Atomic Energy Agency)
Turbine Supplier | [7 empty] | : | ElTM ("Electrotiazhmash" Kharkiv)
Reactor Unit Details | [27 empty] | Key Dates
Reactor type and model | [12 empty] | : |  |  | PWR / VVER V-270 | [11 empty] | Construction Date | [15 empty] | : |  |  | 1975-07-01
Thermal power | [12 empty] | : |  |  | 1375 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 1980-01-05
Gross electrical power | [12 empty] | : |  |  | 408 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | : |  |  | 1980-05-03
Reference unit power (net) | [12 empty] | : |  |  | 375 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 39 years
Design Characteristics
| Primary Systems | [28 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 12.5
| Reactor vessel centreline orientation | [13 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 295.8
| Fuel material | [13 empty] | : |  |  | UO2 | [11 empty] | Number of SG | [15 empty] | : |  |  | 6
| Refuelling type | [13 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | Confinement
| Moderator material | [13 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | :
| Average fuel enrichment [% of U235] | [13 empty] | : | [14 empty] | Secondary systems
| Refuelling frequency [month] | [13 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 2
| Part of the core refuelled [%] | [13 empty] | : | [14 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 3000
| Average discharge burnup [MWd/t] | [13 empty] | : |  |  | 28600 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | 2
| Active core diameter [m] | [13 empty] | : |  |  | 2.88 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 4.4
| Active core height/length [m] | [13 empty] | : |  |  | 2.5 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | 15.75
| Number of fissile fuel assemblies/bundles | [13 empty] | : |  |  | 349 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | Cooling Towers
| Fuel linear heat generation rate [kW/m] | [13 empty] | : |  |  | 13.1 | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | 3
| Number of control rod assemblies | [13 empty] | : |  |  | 37 | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | 4
| Number of external reactor coolant loops | [13 empty] | : |  |  | 6 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | 4
| Coolant type | [13 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | none
Annual Production Results (2019)
Net Energy Production | [18 empty] | : | 2028.96 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 5.62 %
Energy Availability Factor (EAF) | [18 empty] | : | 57.15 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 3.44 %
Unit Capability Factor (UCF) | [18 empty] | : | 57.76 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 38.8 %
Load Factor (LF) | [18 empty] | : | 61.76 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 0.6 %
Operating Factor (OF) | [18 empty] | : | 71.37 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 2508 hours
Annual Summary
[5 empty] | Jan | Feb |  |  |  | Mar |  | Apr | [8 empty] | May |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  | Sep |  |  | Oct |  |  | Nov | [9 empty] | Dec |  |  | Annual
GW(e)-h |  |  |  |  | 270.41 | 242.50 |  |  |  | 260.55 |  | 193.76 | [8 empty] | 140.16 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 105.97 |  |  | 268.96 |  |  | 269.84 | [9 empty] | 276.81 |  |  | 2028.96
EAF [%] |  |  |  |  | 91.07 | 89.50 |  |  |  | 88.12 |  | 70.81 | [8 empty] | 46.00 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 35.72 |  |  | 86.99 |  |  | 90.13 | [9 empty] | 89.61 |  |  | 57.15
UCF [%] |  |  |  |  | 91.07 | 89.95 |  |  |  | 89.62 |  | 73.61 | [8 empty] | 48.49 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 35.72 |  |  | 86.99 |  |  | 90.13 | [9 empty] | 89.61 |  |  | 57.76
LF [%] |  |  |  |  | 96.92 | 96.23 |  |  |  | 93.39 |  | 71.76 | [8 empty] | 50.24 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 39.25 |  |  | 96.40 |  |  | 99.94 | [9 empty] | 99.22 |  |  | 61.76
OF [%] |  |  |  |  | 100.00 | 100.00 |  |  |  | 100.00 |  | 100.00 | [8 empty] | 100.00 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 58.33 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 71.37
FLR [%] |  |  |  |  | 1.01 | 1.62 |  |  |  | 2.59 |  | 5.91 | [8 empty] | 6.65 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 35.13 |  |  | 5.44 |  |  | 2.03 | [9 empty] | 2.60 |  |  | 5.62
UCL [%] |  |  |  |  | 0.93 | 1.48 |  |  |  | 2.38 |  | 4.62 | [8 empty] | 3.46 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 19.35 |  |  | 5.01 |  |  | 1.87 | [9 empty] | 2.39 |  |  | 3.44
PUF [%] |  |  |  |  | 8.00 | 8.57 |  |  |  | 8.00 |  | 21.77 | [8 empty] | 48.05 |  |  | 100.00 | [6 empty] | 100.00 |  | 100.00 |  |  |  | 44.94 |  |  | 8.00 |  |  | 8.00 | [9 empty] | 8.00 |  |  | 38.80
XUF [%] |  |  |  |  | 0.00 | 0.45 |  |  |  | 1.50 |  | 2.80 | [8 empty] | 2.49 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.60
Historical Summary
Lifetime energy generation | [13 empty] | : |  |  | 73406 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 4.08 %
Cumulative Energy Availability Factor (EAF) | [13 empty] | : |  |  | 65.54 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 3.1 %
Cumulative Unit Capability Factor (UCF) | [13 empty] | : |  |  | 67.54 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 29.36 %
Cumulative Load Factor (LF) | [13 empty] | : |  |  | 65.12 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 2 %
Cumulative Operating Factor (OF) | [13 empty] | : |  |  | 79.32 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
1980 |  |  |  | Data not provided
1981 |  |  |  | "
1982 |  |  |  | "
1983 |  |  |  | "
1984 |  |  |  | "
1985 |  |  |  | "
1986 |  |  |  | "
1987 |  |  |  | 2629.08 |  |  | 7040 |  |  |  | 408 | [10 empty] | 79.34 |  |  |  | 79.34 | [5 empty] | 73.56 |  |  | 80.37 |  |  |  | 10.91 |  | 9.71 | [8 empty] | 10.95 |  |  |  |  | 0.00
1988 |  |  |  | 2254.53 |  |  | 6741 |  |  |  | 376 | [10 empty] | 73.40 |  |  |  | 73.40 | [5 empty] | 68.26 |  |  | 76.74 |  |  |  | 7.07 |  | 5.58 | [8 empty] | 21.02 |  |  |  |  | 0.00
1989 |  |  |  | 671.28 |  |  | 1838 |  |  |  | 376 | [10 empty] | 99.58 |  |  |  | 99.58 | [5 empty] | 82.69 |  |  | 85.13 |  |  |  | 0.42 |  | 0.42 | [8 empty] | 0.00 |  |  |  |  | 0.00
1990 |  |  |  | Data not available - Long-term shutdown
1991 |  |  |  | "
1992 |  |  |  | "
1993 |  |  |  | "
1994 |  |  |  | "
1995 |  |  |  | Data not provided
1996 |  |  |  | 2097.98 |  |  | 7561 |  |  |  | 376 | [10 empty] | 63.60 |  |  |  | 86.25 | [5 empty] | 63.52 |  |  | 86.08 |  |  |  | 0.42 |  | 0.37 | [8 empty] | 13.39 |  |  |  |  | 22.64
1997 |  |  |  | 1429.96 |  |  | 5700 |  |  |  | 376 | [10 empty] | 43.41 |  |  |  | 43.41 | [5 empty] | 43.41 |  |  | 65.07 |  |  |  | 1.59 |  | 0.70 | [8 empty] | 55.88 |  |  |  |  | 0.00
1998 |  |  |  | 1416.47 |  |  | 6408 |  |  |  | 376 | [10 empty] | 44.62 |  |  |  | 44.62 | [5 empty] | 43.00 |  |  | 73.15 |  |  |  | 0.11 |  | 0.05 | [8 empty] | 55.33 |  |  |  |  | 0.00
1999 |  |  |  | 1890.37 |  |  | 6193 |  |  |  | 376 | [10 empty] | 57.39 |  |  |  | 57.39 | [5 empty] | 57.39 |  |  | 70.70 |  |  |  | 0.41 |  | 0.23 | [8 empty] | 42.37 |  |  |  |  | 0.00
2000 |  |  |  | 1841.51 |  |  | 5699 |  |  |  | 376 | [10 empty] | 55.77 |  |  |  | 55.78 | [5 empty] | 55.76 |  |  | 64.88 |  |  |  | 2.17 |  | 1.24 | [8 empty] | 42.99 |  |  |  |  | 0.01
2001 |  |  |  | 1815.41 |  |  | 5660 |  |  |  | 376 | [10 empty] | 55.11 |  |  |  | 55.12 | [5 empty] | 55.12 |  |  | 64.61 |  |  |  | 0.57 |  | 0.32 | [8 empty] | 44.57 |  |  |  |  | 0.01
2002 |  |  |  | 2078.90 |  |  | 6961 |  |  |  | 376 | [10 empty] | 63.20 |  |  |  | 63.31 | [5 empty] | 63.12 |  |  | 79.46 |  |  |  | 0.87 |  | 0.56 | [8 empty] | 36.13 |  |  |  |  | 0.11
2003 |  |  |  | 1997.55 |  |  | 6120 |  |  |  | 376 | [10 empty] | 60.65 |  |  |  | 63.39 | [5 empty] | 60.65 |  |  | 69.86 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 36.61 |  |  |  |  | 2.74
2004 |  |  |  | 2196.58 |  |  | 7135 |  |  |  | 376 | [10 empty] | 64.18 |  |  |  | 70.29 | [5 empty] | 66.51 |  |  | 81.23 |  |  |  | 0.75 |  | 0.89 | [8 empty] | 28.82 |  |  |  |  | 6.11
2005 |  |  |  | 2504.49 |  |  | 7658 |  |  |  | 376 | [10 empty] | 76.25 |  |  |  | 76.25 | [5 empty] | 76.04 |  |  | 87.42 |  |  |  | 3.26 |  | 2.57 | [8 empty] | 21.18 |  |  |  |  | 0.00
2006 |  |  |  | 2421.62 |  |  | 7632 |  |  |  | 376 | [10 empty] | 76.13 |  |  |  | 76.13 | [5 empty] | 73.52 |  |  | 87.12 |  |  |  | 3.15 |  | 2.48 | [8 empty] | 21.39 |  |  |  |  | 0.00
2007 |  |  |  | 2347.83 |  |  | 7447 |  |  |  | 376 | [10 empty] | 73.81 |  |  |  | 73.81 | [5 empty] | 71.28 |  |  | 85.01 |  |  |  | 6.26 |  | 4.93 | [8 empty] | 21.26 |  |  |  |  | 0.00
2008 |  |  |  | 2265.89 |  |  | 7013 |  |  |  | 376 | [10 empty] | 69.01 |  |  |  | 69.01 | [5 empty] | 68.61 |  |  | 79.84 |  |  |  | 3.79 |  | 2.72 | [8 empty] | 28.27 |  |  |  |  | 0.00
2009 |  |  |  | 2290.42 |  |  | 7408 |  |  |  | 375 | [10 empty] | 69.85 |  |  |  | 71.28 | [5 empty] | 69.72 |  |  | 84.57 |  |  |  | 7.74 |  | 6.32 | [8 empty] | 22.39 |  |  |  |  | 1.43
2010 |  |  |  | 2286.54 |  |  | 7535 |  |  |  | 375 | [10 empty] | 69.70 |  |  |  | 71.78 | [5 empty] | 69.61 |  |  | 86.02 |  |  |  | 7.26 |  | 5.62 | [8 empty] | 22.61 |  |  |  |  | 2.08
2011 |  |  |  | 2356.84 |  |  | 7552 |  |  |  | 375 | [10 empty] | 73.70 |  |  |  | 75.49 | [5 empty] | 71.75 |  |  | 86.21 |  |  |  | 3.76 |  | 3.64 | [8 empty] | 20.87 |  |  |  |  | 1.79
2012 |  |  |  | 2123.50 |  |  | 7052 |  |  |  | 375 | [10 empty] | 66.39 |  |  |  | 68.31 | [5 empty] | 64.47 |  |  | 80.28 |  |  |  | 4.50 |  | 3.22 | [8 empty] | 28.47 |  |  |  |  | 1.92
2013 |  |  |  | 2167.63 |  |  | 7237 |  |  |  | 375 | [10 empty] | 64.44 |  |  |  | 66.45 | [5 empty] | 65.99 |  |  | 82.61 |  |  |  | 14.48 |  | 11.25 | [8 empty] | 22.30 |  |  |  |  | 2.01
2014 |  |  |  | 2265.64 |  |  | 7542 |  |  |  | 375 | [10 empty] | 67.32 |  |  |  | 70.51 | [5 empty] | 68.97 |  |  | 86.10 |  |  |  | 3.94 |  | 2.89 | [8 empty] | 26.60 |  |  |  |  | 3.19
2015 |  |  |  | 2571.10 |  |  | 7859 |  |  |  | 375 | [10 empty] | 77.43 |  |  |  | 79.90 | [5 empty] | 78.27 |  |  | 89.71 |  |  |  | 1.91 |  | 1.55 | [8 empty] | 18.55 |  |  |  |  | 2.47
2016 |  |  |  | 2194.85 |  |  | 6756 |  |  |  | 375 | [10 empty] | 65.45 |  |  |  | 67.82 | [5 empty] | 66.63 |  |  | 76.91 |  |  |  | 1.76 |  | 5.72 | [8 empty] | 26.45 |  |  |  |  | 2.37
2017 |  |  |  | 2411.39 |  |  | 7341 |  |  |  | 375 | [10 empty] | 71.41 |  |  |  | 73.43 | [5 empty] | 73.41 |  |  | 83.80 |  |  |  | 3.19 |  | 2.42 | [8 empty] | 24.15 |  |  |  |  | 2.02
2018 |  |  |  | 1898.08 |  |  | 7169 |  |  |  | 375 | [10 empty] | 55.75 |  |  |  | 56.87 | [5 empty] | 57.78 |  |  | 81.84 |  |  |  | 3.81 |  | 2.25 | [8 empty] | 40.88 |  |  |  |  | 1.12
2019 |  |  |  | 2028.96 |  |  | 6252 |  |  |  | 375 | [10 empty] | 57.15 |  |  |  | 57.76 | [5 empty] | 61.76 |  |  | 71.37 |  |  |  | 5.62 |  | 3.44 | [8 empty] | 38.80 |  |  |  |  | 0.60
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[23 empty] | 2019 | [14 empty] | 1980 to 2019
Outage Cause | [22 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[23 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [24 empty] | 122 | [14 empty] | 101
C. |  | Inspection, maintenance or repair combined with refuelling | [20 empty] | 2386 | [14 empty] | 1444 |  |  |  | 16
D. |  | Inspection, maintenance or repair without refuelling | [35 empty] | 150
E. |  | Testing of plant systems or components | [39 empty] | 2
F. |  | Major backfitting, refurbishment or upgrading activities with refuelling | [35 empty] | 60
J. |  | Grid limitation, failure or grid unavailability | [51 empty] | 10
L. |  | Human factor related | [39 empty] | 2
Subtotal | [22 empty] | 2386 |  |  |  | 122 | [10 empty] | 1654 |  |  |  | 121 | [11 empty] | 10
Total | [22 empty] | 2508 | [14 empty] | 1785
Equipment Related Unplanned Full Outages, Analysis by System
System | [22 empty] | 2019 | [14 empty] | 1980 to 2019
[23 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [34 empty] | 27
12. |  |  | Reactor I&C Systems | [34 empty] | 13
13. |  |  | Reactor Auxiliary Systems | [34 empty] | 9
15. |  |  | Reactor Cooling Systems | [19 empty] | 122 | [14 empty] | 13
16. |  |  | Steam generation systems | [34 empty] | 8
17. |  |  | Safety I&C Systems (excluding reactor I&C) | [34 empty] | 2
31. |  |  | Turbine and auxiliaries | [34 empty] | 2
34. |  |  | Miscellaneous Systems | [34 empty] | 26
35. |  |  | All other I&C Systems | [34 empty] | 1
41. |  |  | Main Generator Systems | [34 empty] | 1
42. |  |  | Electrical Power Supply Systems | [34 empty] | 4
Total | [22 empty] | 122 | [14 empty] | 106
Highlights (2019)
During the 2019 outage, extension design lifetime activities and a number of measures safety upgrading principal activities have been performed.