## ARMENIAN-2
2020 Operating Experience
AM-19 | [9 empty] | ARMENIAN-2 | [28 empty] | ARMENIA
Status at end of year | [8 empty] | : | Operational
Operator | [8 empty] | : | ANPPCJSC (Closed Joint Stock Company Armenian NPP)
Owner | [8 empty] | : | M.E. (Ministry of Energy and Natural Resources of RA)
Reactor Supplier | [8 empty] | : | FAEA (Federal Atomic Energy Agency)
Turbine Supplier | [8 empty] | : | ElTM ("Electrotiazhmash" Kharkiv)
Reactor Unit Details | [30 empty] | Key Dates
Reactor type and model | [14 empty] | : |  |  | PWR / VVER V-270 | [12 empty] | Construction Date | [16 empty] | : |  |  | 1975-07-01
Thermal power | [14 empty] | : |  |  | 1375 | [9 empty] | MWth |  |  | Grid Date | [16 empty] | : |  |  | 1980-01-05
Gross electrical power | [14 empty] | : |  |  | 451 | [9 empty] | MWe |  |  | Commercial Date | [16 empty] | : |  |  | 1980-05-03
Reference unit power (net) | [14 empty] | : |  |  | 415 | [9 empty] | MWe |  |  | Age at end of year | [16 empty] | : |  |  | 40 years
Design Characteristics
| Primary Systems | [31 empty] | Operating coolant pressure [MPa] | [16 empty] | : |  |  | 12.5
| Reactor vessel centreline orientation | [15 empty] | : |  |  | Vertical | [12 empty] | Reactor outlet temperature [°C] | [16 empty] | : |  |  | 295.8
| Fuel material | [15 empty] | : |  |  | UO2 | [12 empty] | Number of SG | [16 empty] | : |  |  | 6
| Refuelling type | [15 empty] | : |  |  | OFF-line | [12 empty] | Containment type | [16 empty] | : |  |  | Confinement
| Moderator material | [15 empty] | : |  |  | H2O | [12 empty] | Containment design pressure [MPa] | [16 empty] | : |  |  | -
| Average fuel enrichment [% of U235] | [15 empty] | : |  |  | - | [12 empty] | Secondary systems
| Refuelling frequency [month] | [15 empty] | : |  |  | 12 | [12 empty] | Number of turbine-generators per unit/reactor | [16 empty] | : |  |  | 2
| Part of the core refuelled [%] | [15 empty] | : |  |  | - | [12 empty] | Turbine speed [rpm] | [16 empty] | : |  |  | 3000
| Average discharge burnup [MWd/t] | [15 empty] | : |  |  | 28600 | [12 empty] | Number of LP cylinders per turbine | [16 empty] | : |  |  | 2
| Active core diameter [m] | [15 empty] | : |  |  | 2.88 | [12 empty] | HP cylinder inlet steam pressure [MPa] | [16 empty] | : |  |  | 4.4
| Active core height/length [m] | [15 empty] | : |  |  | 2.5 | [12 empty] | Output voltage [kV] | [16 empty] | : |  |  | 15.75
| Number of fissile fuel assemblies/bundles | [15 empty] | : |  |  | 349 | [12 empty] | Primary means of condenser cooling | [16 empty] | : |  |  | Cooling Towers
| Fuel linear heat generation rate [kW/m] | [15 empty] | : |  |  | 13.1 | [12 empty] | Number of main condensate pumps | [16 empty] | : |  |  | 3
| Number of control rod assemblies | [15 empty] | : |  |  | 37 | [12 empty] | Number of FW pumps for full power operation | [16 empty] | : |  |  | 4
| Number of external reactor coolant loops | [15 empty] | : |  |  | 6 | [12 empty] | Number of on-site safety related diesel generators | [16 empty] | : |  |  | 4
| Coolant type | [15 empty] | : |  |  | H2O | [12 empty] | Non-electrical applications | [16 empty] | : |  |  | none
Annual Production Results (2020)
Net Energy Production | [20 empty] | : | 2551.8 GW(e).h | [9 empty] | Forced Loss Rate (FLR) | [16 empty] | : |  |  | 6.29 %
Energy Availability Factor (EAF) | [20 empty] | : | 70.3 % | [9 empty] | Unplanned Capability Loss Factor (UCL) | [16 empty] | : |  |  | 4.92 %
Unit Capability Factor (UCF) | [20 empty] | : | 73.3 % | [9 empty] | Planned Unavailability Factor (PUF) | [16 empty] | : |  |  | 21.78 %
Load Factor (LF) | [20 empty] | : | 70 % | [9 empty] | Externally cause unavailability (XUF) | [16 empty] | : |  |  | 3 %
Operating Factor (OF) | [20 empty] | : | 83.05 % | [9 empty] | Total off-line time | [16 empty] | : |  |  | 1489 hours
Annual Summary
[5 empty] | Jan |  | Feb |  |  |  |  | Mar |  | Apr | [8 empty] | May |  |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  |  | Sep |  |  | Oct |  |  | Nov | [9 empty] | Dec |  |  | Annual
GW(e)-h |  |  |  |  | 279.45 |  | 215.69 |  |  |  |  | 259.69 |  | 220.74 | [8 empty] | 241.18 |  |  |  | 236.73 | [6 empty] | 5.90 |  | 66.34 |  |  |  |  | 222.09 |  |  | 257.91 |  |  | 264.57 | [9 empty] | 281.51 |  |  | 2551.80
EAF [%] |  |  |  |  | 89.96 |  | 75.37 |  |  |  |  | 85.42 |  | 73.54 | [8 empty] | 81.34 |  |  |  | 78.61 | [6 empty] | 1.91 |  | 21.49 |  |  |  |  | 74.16 |  |  | 85.13 |  |  | 88.02 | [9 empty] | 89.99 |  |  | 70.30
UCF [%] |  |  |  |  | 91.21 |  | 76.75 |  |  |  |  | 89.04 |  | 76.98 | [8 empty] | 86.44 |  |  |  | 85.48 | [6 empty] | 1.91 |  | 23.91 |  |  |  |  | 79.88 |  |  | 88.11 |  |  | 89.89 | [9 empty] | 91.48 |  |  | 73.30
LF [%] |  |  |  |  | 90.51 |  | 74.67 |  |  |  |  | 84.11 |  | 73.88 | [8 empty] | 78.11 |  |  |  | 79.23 | [6 empty] | 1.91 |  | 21.49 |  |  |  |  | 74.33 |  |  | 83.53 |  |  | 88.55 | [9 empty] | 91.17 |  |  | 70.00
OF [%] |  |  |  |  | 100.00 |  | 86.93 |  |  |  |  | 100.00 |  | 94.86 | [8 empty] | 100.00 |  |  |  | 100.00 | [6 empty] | 3.09 |  | 25.94 |  |  |  |  | 87.64 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 83.05
FLR [%] |  |  |  |  | 0.70 |  | 16.44 |  |  |  |  | 3.06 |  | 11.93 | [8 empty] | 5.89 |  |  |  | 6.93 | [6 empty] | 0.00 |  | 5.06 |  |  |  |  | 13.03 |  |  | 4.07 |  |  | 2.13 | [9 empty] | 0.40 |  |  | 6.29
UCL [%] |  |  |  |  | 0.64 |  | 15.10 |  |  |  |  | 2.81 |  | 10.43 | [8 empty] | 5.41 |  |  |  | 6.36 | [6 empty] | 0.00 |  | 1.27 |  |  |  |  | 11.97 |  |  | 3.74 |  |  | 1.96 | [9 empty] | 0.37 |  |  | 4.92
PUF [%] |  |  |  |  | 8.15 |  | 8.15 |  |  |  |  | 8.15 |  | 12.58 | [8 empty] | 8.15 |  |  |  | 8.15 | [6 empty] | 98.09 |  | 74.82 |  |  |  |  | 8.15 |  |  | 8.15 |  |  | 8.15 | [9 empty] | 8.15 |  |  | 21.78
XUF [%] |  |  |  |  | 1.24 |  | 1.38 |  |  |  |  | 3.61 |  | 3.44 | [8 empty] | 5.09 |  |  |  | 6.88 | [6 empty] | 0.00 |  | 2.42 |  |  |  |  | 5.71 |  |  | 2.97 |  |  | 1.87 | [9 empty] | 1.49 |  |  | 3.00
Historical Summary
Lifetime energy generation | [15 empty] | : |  |  | 75957.76 GW(e).h | [12 empty] | Cumulative Forced Loss Rate (FLR) | [22 empty] | : | 4.18 %
Cumulative Energy Availability Factor (EAF) | [15 empty] | : |  |  | 65.73 % | [12 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [22 empty] | : | 3.17 %
Cumulative Unit Capability Factor (UCF) | [15 empty] | : |  |  | 67.77 % | [12 empty] | Cumulative Planned Unavailability Factor (PUF) | [22 empty] | : | 29.06 %
Cumulative Load Factor (LF) | [15 empty] | : |  |  | 65.31 % | [12 empty] | Cumulative Externally cause unavailability (XUF) | [22 empty] | : | 2.04 %
Cumulative Operating Factor (OF) | [15 empty] | : |  |  | 79.46 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  |  | Time Online |  |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  |  | [Hours] |  |  |  |  | [MW] | [10 empty] | [%] |  |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
1980 |  |  |  | Data not provided
1981 |  |  |  | "
1982 |  |  |  | "
1983 |  |  |  | "
1984 |  |  |  | "
1985 |  |  |  | "
1986 |  |  |  | "
1987 |  |  |  | 2629.08 |  |  |  | 7040 |  |  |  |  | 408 | [10 empty] | 79.34 |  |  |  |  | 79.34 | [5 empty] | 73.56 |  |  | 80.37 |  |  |  |  | 10.91 |  | 9.71 | [8 empty] | 10.95 |  |  |  |  | 0.00
1988 |  |  |  | 2254.53 |  |  |  | 6741 |  |  |  |  | 376 | [10 empty] | 73.40 |  |  |  |  | 73.40 | [5 empty] | 68.26 |  |  | 76.74 |  |  |  |  | 7.07 |  | 5.58 | [8 empty] | 21.02 |  |  |  |  | 0.00
1989 |  |  |  | 671.28 |  |  |  | 1838 |  |  |  |  | 376 | [10 empty] | 99.58 |  |  |  |  | 99.58 | [5 empty] | 82.69 |  |  | 85.13 |  |  |  |  | 0.42 |  | 0.42 | [8 empty] | 0.00 |  |  |  |  | 0.00
1990 |  |  |  | Data not available - Long-term shutdown
1991 |  |  |  | "
1992 |  |  |  | "
1993 |  |  |  | "
1994 |  |  |  | "
1995 |  |  |  | Data not provided
1996 |  |  |  | 2097.98 |  |  |  | 7561 |  |  |  |  | 376 | [10 empty] | 63.60 |  |  |  |  | 86.25 | [5 empty] | 63.52 |  |  | 86.08 |  |  |  |  | 0.42 |  | 0.37 | [8 empty] | 13.39 |  |  |  |  | 22.64
1997 |  |  |  | 1429.96 |  |  |  | 5700 |  |  |  |  | 376 | [10 empty] | 43.41 |  |  |  |  | 43.41 | [5 empty] | 43.41 |  |  | 65.07 |  |  |  |  | 1.59 |  | 0.70 | [8 empty] | 55.88 |  |  |  |  | 0.00
1998 |  |  |  | 1416.47 |  |  |  | 6408 |  |  |  |  | 376 | [10 empty] | 44.62 |  |  |  |  | 44.62 | [5 empty] | 43.00 |  |  | 73.15 |  |  |  |  | 0.11 |  | 0.05 | [8 empty] | 55.33 |  |  |  |  | 0.00
1999 |  |  |  | 1890.37 |  |  |  | 6193 |  |  |  |  | 376 | [10 empty] | 57.39 |  |  |  |  | 57.39 | [5 empty] | 57.39 |  |  | 70.70 |  |  |  |  | 0.41 |  | 0.23 | [8 empty] | 42.37 |  |  |  |  | 0.00
2000 |  |  |  | 1841.51 |  |  |  | 5699 |  |  |  |  | 376 | [10 empty] | 55.77 |  |  |  |  | 55.78 | [5 empty] | 55.76 |  |  | 64.88 |  |  |  |  | 2.17 |  | 1.24 | [8 empty] | 42.99 |  |  |  |  | 0.01
2001 |  |  |  | 1815.41 |  |  |  | 5660 |  |  |  |  | 376 | [10 empty] | 55.11 |  |  |  |  | 55.12 | [5 empty] | 55.12 |  |  | 64.61 |  |  |  |  | 0.57 |  | 0.32 | [8 empty] | 44.57 |  |  |  |  | 0.01
2002 |  |  |  | 2078.90 |  |  |  | 6961 |  |  |  |  | 376 | [10 empty] | 63.20 |  |  |  |  | 63.31 | [5 empty] | 63.12 |  |  | 79.46 |  |  |  |  | 0.87 |  | 0.56 | [8 empty] | 36.13 |  |  |  |  | 0.11
2003 |  |  |  | 1997.55 |  |  |  | 6120 |  |  |  |  | 376 | [10 empty] | 60.65 |  |  |  |  | 63.39 | [5 empty] | 60.65 |  |  | 69.86 |  |  |  |  | 0.00 |  | 0.00 | [8 empty] | 36.61 |  |  |  |  | 2.74
2004 |  |  |  | 2196.58 |  |  |  | 7135 |  |  |  |  | 376 | [10 empty] | 64.18 |  |  |  |  | 70.29 | [5 empty] | 66.51 |  |  | 81.23 |  |  |  |  | 0.75 |  | 0.89 | [8 empty] | 28.82 |  |  |  |  | 6.11
2005 |  |  |  | 2504.49 |  |  |  | 7658 |  |  |  |  | 376 | [10 empty] | 76.25 |  |  |  |  | 76.25 | [5 empty] | 76.04 |  |  | 87.42 |  |  |  |  | 3.26 |  | 2.57 | [8 empty] | 21.18 |  |  |  |  | 0.00
2006 |  |  |  | 2421.62 |  |  |  | 7632 |  |  |  |  | 376 | [10 empty] | 76.13 |  |  |  |  | 76.13 | [5 empty] | 73.52 |  |  | 87.12 |  |  |  |  | 3.15 |  | 2.48 | [8 empty] | 21.39 |  |  |  |  | 0.00
2007 |  |  |  | 2347.83 |  |  |  | 7447 |  |  |  |  | 376 | [10 empty] | 73.81 |  |  |  |  | 73.81 | [5 empty] | 71.28 |  |  | 85.01 |  |  |  |  | 6.26 |  | 4.93 | [8 empty] | 21.26 |  |  |  |  | 0.00
2008 |  |  |  | 2265.89 |  |  |  | 7013 |  |  |  |  | 376 | [10 empty] | 69.01 |  |  |  |  | 69.01 | [5 empty] | 68.61 |  |  | 79.84 |  |  |  |  | 3.79 |  | 2.72 | [8 empty] | 28.27 |  |  |  |  | 0.00
2009 |  |  |  | 2290.42 |  |  |  | 7408 |  |  |  |  | 375 | [10 empty] | 69.85 |  |  |  |  | 71.28 | [5 empty] | 69.72 |  |  | 84.57 |  |  |  |  | 7.74 |  | 6.32 | [8 empty] | 22.39 |  |  |  |  | 1.43
2010 |  |  |  | 2286.54 |  |  |  | 7535 |  |  |  |  | 375 | [10 empty] | 69.70 |  |  |  |  | 71.78 | [5 empty] | 69.61 |  |  | 86.02 |  |  |  |  | 7.26 |  | 5.62 | [8 empty] | 22.61 |  |  |  |  | 2.08
2011 |  |  |  | 2356.84 |  |  |  | 7552 |  |  |  |  | 375 | [10 empty] | 73.70 |  |  |  |  | 75.49 | [5 empty] | 71.75 |  |  | 86.21 |  |  |  |  | 3.76 |  | 3.64 | [8 empty] | 20.87 |  |  |  |  | 1.79
2012 |  |  |  | 2123.50 |  |  |  | 7052 |  |  |  |  | 375 | [10 empty] | 66.39 |  |  |  |  | 68.31 | [5 empty] | 64.47 |  |  | 80.28 |  |  |  |  | 4.50 |  | 3.22 | [8 empty] | 28.47 |  |  |  |  | 1.92
2013 |  |  |  | 2167.63 |  |  |  | 7237 |  |  |  |  | 375 | [10 empty] | 64.44 |  |  |  |  | 66.45 | [5 empty] | 65.99 |  |  | 82.61 |  |  |  |  | 14.48 |  | 11.25 | [8 empty] | 22.30 |  |  |  |  | 2.01
2014 |  |  |  | 2265.64 |  |  |  | 7542 |  |  |  |  | 375 | [10 empty] | 67.32 |  |  |  |  | 70.51 | [5 empty] | 68.97 |  |  | 86.10 |  |  |  |  | 3.94 |  | 2.89 | [8 empty] | 26.60 |  |  |  |  | 3.19
2015 |  |  |  | 2571.10 |  |  |  | 7859 |  |  |  |  | 375 | [10 empty] | 77.43 |  |  |  |  | 79.90 | [5 empty] | 78.27 |  |  | 89.71 |  |  |  |  | 1.91 |  | 1.55 | [8 empty] | 18.55 |  |  |  |  | 2.47
2016 |  |  |  | 2194.85 |  |  |  | 6756 |  |  |  |  | 375 | [10 empty] | 65.45 |  |  |  |  | 67.82 | [5 empty] | 66.63 |  |  | 76.91 |  |  |  |  | 1.76 |  | 5.72 | [8 empty] | 26.45 |  |  |  |  | 2.37
2017 |  |  |  | 2411.39 |  |  |  | 7341 |  |  |  |  | 375 | [10 empty] | 71.41 |  |  |  |  | 73.43 | [5 empty] | 73.41 |  |  | 83.80 |  |  |  |  | 3.19 |  | 2.42 | [8 empty] | 24.15 |  |  |  |  | 2.02
2018 |  |  |  | 1898.08 |  |  |  | 7169 |  |  |  |  | 375 | [10 empty] | 55.75 |  |  |  |  | 56.87 | [5 empty] | 57.78 |  |  | 81.84 |  |  |  |  | 3.81 |  | 2.25 | [8 empty] | 40.88 |  |  |  |  | 1.12
2019 |  |  |  | 2028.96 |  |  |  | 6252 |  |  |  |  | 375 | [10 empty] | 57.15 |  |  |  |  | 57.76 | [5 empty] | 61.76 |  |  | 71.37 |  |  |  |  | 5.62 |  | 3.44 | [8 empty] | 38.80 |  |  |  |  | 0.60
2020 |  |  |  | 2551.80 |  |  |  | 7295 |  |  |  |  | 415 | [10 empty] | 70.30 |  |  |  |  | 73.30 | [5 empty] | 70.00 |  |  | 83.05 |  |  |  |  | 6.29 |  | 4.92 | [8 empty] | 21.78 |  |  |  |  | 3.00
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[25 empty] | 2020 | [16 empty] | 1980 to 2020
Outage Cause | [24 empty] | Hours Lost | [16 empty] | Average hours lost per reactor-year
[25 empty] | Planned |  |  |  |  | Unplanned | [6 empty] | External |  |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [27 empty] | 190 | [15 empty] | 104
C. |  | Inspection, maintenance or repair combined with refuelling | [22 empty] | 1262 | [16 empty] | 1437 |  |  |  | 15
D. |  | Inspection, maintenance or repair without refuelling | [39 empty] | 144
E. |  | Testing of plant systems or components | [43 empty] | 2
F. |  | Major backfitting, refurbishment or upgrading activities with refuelling | [39 empty] | 57
J. |  | Grid limitation, failure or grid unavailability | [55 empty] | 10
L. |  | Human factor related | [43 empty] | 2
Z. |  | Other | [27 empty] | 37 | [15 empty] | 1
Subtotal | [24 empty] | 1262 |  |  |  |  | 227 | [11 empty] | 1638 |  |  |  | 124 | [11 empty] | 10
Total | [24 empty] | 1489 | [16 empty] | 1772
Equipment Related Unplanned Full Outages, Analysis by System
System | [24 empty] | 2020 | [16 empty] | 1980 to 2020
[25 empty] | Hours Lost | [16 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [21 empty] | 99 | [16 empty] | 29
12. |  |  | Reactor I&C Systems | [38 empty] | 13
13. |  |  | Reactor Auxiliary Systems | [38 empty] | 9
15. |  |  | Reactor Cooling Systems | [21 empty] | 91 | [16 empty] | 16
16. |  |  | Steam generation systems | [38 empty] | 8
17. |  |  | Safety I&C Systems (excluding reactor I&C) | [38 empty] | 2
31. |  |  | Turbine and auxiliaries | [38 empty] | 2
34. |  |  | Miscellaneous Systems | [38 empty] | 25
35. |  |  | All other I&C Systems | [38 empty] | 1
41. |  |  | Main Generator Systems | [38 empty] | 1
42. |  |  | Electrical Power Supply Systems | [38 empty] | 4
Total | [24 empty] | 190 | [16 empty] | 110
RUP revision during the year (2020) due to power uprate
RUP at the end of previous year : 375 [MWe]
Month | [5 empty] | Capacity [MWe] |  |  |  |  | Power Uprate | [14 empty] | Main modifications | [13 empty] | Description
January | [5 empty] | 415 |  |  |  |  | Extended power uprate (>7%) | [14 empty] | Balance of plant | [13 empty] | Turbine modernization
Highlights (2020)
With the view of implementing outage-2020 covering a large scope of activities to be performed in the framework of the Armenian NPP life extension program. In 2020 in the framework of the Armenian NPP life extension program the Armenian NPP Unit 2 its’ capacity increases to 451 MW on account of increase of turbines' capacity. But Armenian NPP has operational permission for 92 % of thermal capacity of nuclear reactor (415 MW).