## Table20_DirectCauseFullOutages
TABLE 20. DIRECT CAUSES OF FULL OUTAGES DURING 2020
Direct Outage Cause | Planned Full Outages |  |  |  | Unplanned Full Outages
| Energy Lost |  | Time Lost |  | Energy Lost |  | Time Lost
| GW.h | % | Hours | % | GW.h | % | Hours | %
Plant equipment problem/failure |  |  |  |  | 12853 | 43.53 | 24982 | 61.34
Refuelling without maintenance | 54773 | 9.82 | 55248 | 8.42
Inspection, maintenance or repair combined with refuelling | 242960 | 43.57 | 281584 | 42.91
Inspection, maintenance or repair without refuelling | 40154 | 7.2 | 75166 | 11.45
Testing of plant systems or components | 1851 | 0.33 | 2432 | 0.37 | 13 | 0.04 | 15 | 0.04
Major backfitting, refurbishment or upgrading activities with refuelling | 9473 | 1.7 | 14021 | 2.14
Major backfitting, refurbishment or upgrading activities without refuelling | 207125 | 37.14 | 216887 | 33.05
Nuclear regulatory requirements | 411 | 0.07 | 2057 | 0.31 | 2 | 0.01 | 11 | 0.03
Human factor related |  |  |  |  | 1028 | 3.48 | 1246 | 3.06
Fuel management limitation (including high flux tilt, stretch out or coast-down operation) |  |  |  |  | 268 | 0.91 | 248 | 0.61
Other | 874 | 0.16 | 8859 | 1.35 | 15360 | 52.02 | 14228 | 34.93
TOTAL | 557621 | 100 | 656254 | 100 | 29524 | 100 | 40730 | 100
Note:
Only reactors which have achieved full commercial operation in or before 2020 are counted.