CHALLENGES IN INTRODUCING RISK INFORMED REGULATION IN JAPAN

|  | Mamoru Fukuda, Haruo Fujimoto, Masahiro Yamashita, Masajiro Sugawara |
| --- | --- |
|  | Japan Nuclear Energy Safety Organization (JNES), Kamiya-cho MT Bldg. 4-3-20 Toranomon, Minato-ku, Tokyo, 105-0001, Japan |

Abstract. Risk informed regulation (RIR) is being put into place to enhance the scientific rationality of the safety regulation in Japan. This paper, first, summarizes the background of the use of PSA in Japan and then describs challenges and roles of JNES.

# Background

## Expectation to nuclear safety reguration with the use of “Risk information”

To ensure the safety of nuclear power plants, safety assurance measures, such as “measures to prevent the occurrence of abnormalities, i.e. failures or trouble,” “measures to prevent abnomalities from escalating and developing into accidents,” and “measures to prevent release of radioactive materials,” are provided along the concept of defense in depth.  In addition, assuming the occurrence of design base events, behaivour of nuclear plant facilities and influence to the environment of the facilities are evaluated in a deterministic manner to show the validity of the safety measures.  It is said, however, that there remain following issues to enhance scientific rationality of current safety regulation:

- Even if high degree of public safety is ensured, it is difficult to answer the following questions from the public: what the safety level is and how much the residual risk remains.

- In the regulation and rules in each stages, how and what extent are the various uncertainties considered?  It is difficult to show whether the safety margin is well-balanced or not.

- It is difficult to understand the significance of the alternatives for design and operation from the safety point of view.

Probabililstic safety assessment (PSA), on the other hand, is a technique that, allowing to take all possibe accident sequences into consideration, analyzes and evaluates the occurrence frequencies of initiating events, such as  abnormalities and failures, the failure probability of safety functions which can mitigate the influence posed by the events, and the progress and influence of events quantitatively, and thus evaluates the safety comprehensively based on the occurrence frequencies, the degree of influence, or the product of them, i.e. risk.  Accordingly, because PSA can evaluate various kind of quantitative risk information which can not be achieved from the deterministic assessment, it can supply the information for the issues mentioned above.

Hence, it is expected that the safety regulations accompanied by use of “risk information” obtained from PSA, enhancing the understand of risk and concentrating on safety significant problems, complement the traditional deterministic safety regulation based on the defence in depth concept, establish the consistency of safety regulation from the risk point of view, and thus enlarge the scientific rationality of safety regulatory decisions.

## Application of “Risk information” to the nuclear safety regulation in Japan

PSA technology for the nuclear power plant facilities had been developed from 1960s’ in the U.S.A. and the bases of the technology was establish in the reactor safety study (WASH1400) which was published in 1975. Application of “risk information” to the nuclear safety regulation has been investigated in Japan.

(1) Initial stage of use of “Risk information”

From the 1990s in Japan, regulatory body, JNES, research organizations, and industries have investigated the enhancement of PSA technology and the application of “risk information” obtained from PSA and accumulated the experiences through the realization of the accident management strategy and the evaluation of their effectiveness, the comprehensive safety assessments in the periodic safety review, and the evaluation of allowed outage time specified in the safety preservation rules.

(2) Systematic application stage of “Risk information” to safety regulation

In the 2000s, the Nuclear Safety Commission (NSC) in Japan established safety goals for nuclear facilities and the performance objectives for nuclear power plants, and issued “Basic policy of introducing the risk informed regulation” which shows a basic strategy to use risk information aiming for the enhancement of rationality, consisitency, transparancy and accountability of safety regulation, and the effective allocation of resources in safety regulation.

Nuclear and Industrial Safety Agency (NISA) declared that it will make investigation to use risk information widely to nuclear safety regulation and issued “Basic concept to apply ‘Risk information’ to nuclear safety regulation”[1], “Near-Term Implementation Plan for Utilization of ‘Risk Information’ in Nuclear Safety Regulation”[2], “High-level Guidelines for Utilization of ‘Risk Information’ in Safety Regulation for NPPs -Trial Use-”[3], and “PSA Quality Guidelines for NPP Applications -Trial Use-”[4].

Atomic Energy Society of JAPAN (AESJ) starts to make PSA related standards, i.e. procedure standards for level 1, level 2, and level 3 PSA during power operation, seismic PSA procudure standards, and the guidelines for the application of “risk information” as well.

Originated with the experiences of the falsification of inspection records done by Tokyo electric power company and the secondary system pipe rupture in mihama nuclear power station unit 3 of Kansai electric power company, the introduction of the inspection system for the maintenance activities based on the maintenance programs and the establishment of the guidelines for the root cause analysis are being investigated.

# Role of JNES in the initial stage for the application of “risk information” to nuclear safety regulation

## Development of PSA methodology

JNES has been introducing and improving PSA methodologies developed in US. JNES has carried out Level 1 and Level 2 PSA for Japanese typical PWR and BWR plants based on the plant information presented by the licensees, and has accumulated the knowledge about “risk information” obtained from PSA, which includes insights on the uncertainty and the limits of the application,.

France has pointed out the importance of low power and shutdown (LPSD) operation to maintain the plant safety through LPSD PSA in late 1980s. Stimulated by this information, JNES has carried out LPSD PSA for Japanese typical PWR and BWR plants to comprehend their safety levels.

In general, PSA is a powerful tool to systematically evaluate the importance of incidents and accidents, JNES has expanded PSA models for eight Japanese typical PWR and BWR plants. Using those PSA models, JNES has conducted the accident sequence precursor (ASP) analysis for domestic and foreign accidents. Furthermore, since seismic-induced risk is dominant in Japan, JNES has started to develop the methodology for Seismic PSA. Also, JNES has started to develop the methodologies for Fire PSA and Flooding PSA.

## Technical support to the regulatory review of PSA carried out by the licensees

NSC of Japan decided to introduce accident management based on PSA. Accordingly NISA asked licensees to carry out their Level 1 and Level 1+ PSA for power operation to all NPPs in Japan, and licensees submitted the results to NISA. JNES reviewed the adequacy of their PSA results, using the eight Japanese typical PSA models. In the same manner, JNES reviewed the adequacy of their voluntarily conducted LPSD PSA in a periodic safety review.

# Role of JNES in Current Stage; Systematic Use of “Risk Information” in Safety Regulation

## Development of Risk Informed Regulatory Framework

NISA, in corporation with JNES, developed “Basic Concept to Apply ‘Risk Information’ to Nuclear Safety Regulation” and “Near-Term Implementation Plan for Utilization of ‘Risk Information’ in Nuclear Safety Regulation”, etc. These documents compose the main part of the risk informed regulatory framework shown in the Fig.1.

“Basic concept to apply ‘risk information’ to nuclear safety regulation’ contains (1) role of “risk information” in safety regulation, (2) application area and scope of “risk information”, (3) features, limitations and roles of “risk information”, (4) facets of utilization of “risk information” , (5) approach toward risk informed regulation, etc. JNES contributed technically to identify the potential risk informed applications, and to clarify the role, pattern and merit of utilizing risk information in the regulatory decision making, based upon the results and perspectives gained through applying “risk information” in the early stage, and reviewing the status of PSA methodology in Japan, the risk informed regulation in US, etc.

“Near-Term Implementation Plan for Utilization of ‘Risk Information’ in Nuclear Safety Regulation” describes near-term RIR application-selection criteria, application items in various areas, such as design, construction, opreation and inspection areas, and the development of PSA methodology. NISA and JNES wraped up the strategic plan through deliberation with people of experience or academic standing.

“High-level Guidelines for Utilaization of ‘Risk Information’ in Safety Regulation for NPPs -Trial Use-“ desribes “fundamentals of utilization of ‘risk information’”, objectives and scope of high-level guidelines and so on. NISA and JNES discussed consistency with the current regulation principles, considerations to preserve defense in depth and so on. “PSA Quality Guidelines for NPP Applications -Trial Use-” describes elements of PSA quality and requirements. JNES, furthermore, cooperated with the AESJ to develop the PSA standards, which addressed to prepare the prescriptive requirements to assure the PSA quality.

## Pilot Application and/or Implementation of Risk Informed Regulation

JNES, together with NISA, has been conducting the application items identified in “Near-Term Implementation Plan for Utilization of ‘Risk Information’ in Nuclear Safety Regulation”, reflecting the experiences of PSA applications and considering the needs to apply “risk information”.

For example, the new inspection system pursues the enhancement of maintenance activities, reflecting individual plant features, ensuring the plant safety intensively through safety preservation activities and ensuring the licensees’ action to correct the nonconformity. JNES has been cooperating with the staff of NISA, to identify requirements to the maintenance program under the framework of the new inspection policy, proposing to utilize “risk information” in order to (1) confirm the adequacy of the safety significance of each structure, system or component assigned by licensees for maintenance, (2) confirm the adequacy of the configuration control in the maintenance schedule developed by licensees, (3) identify inspection items, focused on safety significant activities conducted by licensees, including activities for the maintenance, (4) select performance indicators, and (5) develop the threshold or the quantitative criteria for measuring the plant performance level.

JNES also performs the pilot application to confirm the appropriateness of the safety preservation rule (e.g., allowed outage time, etc.), and to apply “risk information” in assessing the safety information, such as accidents, incidents etc. in nuclear power plants. JNES will confirm the adequacy of the  “residual risk” evaluated by licensees. In these applications, the standards and guidelines are expected to be developed, in order that the regulatory staff could be apply concretely the risk informed decision making.  NISA and JNES will revise near-term implementation plan once every year, based on regulatory needs and the state-of-the-art PSA methodology.

# Future Role and Approach

Roles of JNES in this stage are limited to (1) develop PSA technique (methodology and data, etc.) in preparation for the activities of regulatory side in the application of “risk information” to nuclear safety regulation, to (2) evaluate the adequacy of Level 1 and Level 1+ PSA of the licensees comparing with independently conducted JNES’s PSA, and to (3) evaluate the safety importance of domestic and foreign accidents and the adequacy of prevention counter measures using Level 1 PSA. In this stage, JNES has already reached a technical level of being able to comprehend the characteristics of all NPPs in Japan from the viewpoint of “risk information.”

In the current stage, JNES is expected to perform the role of regulatory staff partially, besides the role of technical staff to develop and prepare the PSA methodology. It becomes one of important roles of JNES, to technically support the development of guidelines and manuals for the regulatory decision making in various areas, such as the examination and inspection, where “risk information” is utilized to make the regulatory decision for the licensees’ applications, and to comprehensively assess the maintenance activities of individual plants.

On the other hand, JNES has the important role to enhance and assure the quality of PSA methods and database, through cooperating with the regulatory organization and/or the academic authorities. Furthermore, JNES is still expected to enhance the PSA methodologies including those for the earthquake, internal fire, internal flooding and other external events, considering that PSA could supply the quantitative information broadly in the regulatory decision making process, besides the traditional deterministic information.

# References

| [1] [2] [3] [4] | NISA, “Basic Concept Apply ‘Risk Information’ to Nuclear Safety Regulation”, May 2005 NISA and JNES, “Near-Term Implementation Plan for Utilization of ‘Risk Information’ in Nuclear Safety Regulation”,May 2005 NISA, “High-level Guidelines for Utilization of ‘Risk Information’ in Safety Regulation for NPPs –Trial Use-”, April 2006 NISA and JNES, “PSA Quality Guidelines for NPPs Applications –Trial Use-”, April 2006 |
| --- | --- |

# Text boxes

Fig. 1 Framework Utilization of “Risk Information” in Nuclear Safety Regulation