Results of Internal Quality Control

(INSERT LABORATORY ACRONYM.F.005)

To be completed by INSERT LABORATORY ACRONYM -QM

Number of samples in the original request for analysis:

| Elements of interest | Supposed mass fraction range (% weight fraction) |
| --- | --- |

Control group:

Number of duplicates:

Number of control samples:

Number of blanks:

Sample List

| Nr. | INSERT ORGANIZATION ACRONYM, INSERT LABORATORY ACRONYM Code | Duplicate of / CS / Blank |
| --- | --- | --- |
|  | 1 |  |
|  | 2 |  |
|  | 3 |  |
|  | 4 |  |
|  | 5 |  |
|  | 6 |  |
|  | 7 |  |
|  | 8 |  |
|  | 9 |  |
|  | 10 |  |
|  | 11 | 3 |

Results of the Internal Quality Control

1.	Evaluation of duplicate results (results copied from INSERT LABORATORY ACRONYM -IQC.xls, sheet “PRECISION”)

| Element: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| x1 | x2 | DIF | 0(x) | 2 | 3 | LCL | UCL |
|  |  |  |  |  | Total |  |  |
|  |  |  |  |  | % total |  |  |

Final assessment:

Duplicate results comply with IQC

Duplicate results DO NOT comply with IQC

2.	Evaluation of trueness of the results (results copied from INSERT LABORATORY ACRONYM -IQC.xls, sheet “TRUENESS”)

| Control Material | Please specify |
| --- | --- |
| Element | Please specify (g/g) |
| Relative expanded uncertainity and associated coverage factor (k) | Please specify |

Final assessment:

No significant bias was found in the results for all the elements.

There is a significant bias for the determination of ____.

- Evaluation of trueness of the results (results copied from INSERT LABORATORY ACRONYM -IQC.xls, sheet “BLANKS”)

| Blank Matrix: |  | Please specify |
| --- | --- | --- |
| Calculated mass fractions |  |  |
| Element | DL | BLANK-1 |
| Mg |  |  |
| Al |  |  |
| Si |  |  |
| P |  |  |
| S |  |  |
| Cl |  |  |
| K |  |  |
| Ca |  |  |
| Sc |  |  |
| Ti |  |  |
| V |  |  |
| Cr |  |  |
| Mn |  |  |
| Fe |  |  |
| Co |  |  |
| Ni |  |  |
| Cu |  |  |
| Zn |  |  |
| As |  |  |
| Se |  |  |
| Br |  |  |
| Rb |  |  |
| Sr |  |  |
| Y |  |  |
| Zr |  |  |
| Nb |  |  |
| Mo |  |  |

Final assessment:

No contamination or instrumental interference was found in the analysis of all of the elements.

Contamination / instrumental interference was found in the analysis of ____