## EMSLAND
2023 Operating Experience
DE-33 | [8 empty] | EMSLAND | [26 empty] | GERMANY
Status at end of year | [7 empty] | : | Permanent Shutdown
Operator | [7 empty] | : | KLE (Kernkraftwerke Lippe-Ems GmbH)
Owner | [7 empty] | : | RWE/PEL (1. (75%) RWE Power AG 2. (25%) PreussenElektra GmbH)
Reactor Supplier | [7 empty] | : | KWU (KRAFTWERK UNION, AG)
Turbine Supplier | [7 empty] | : | KWU (KRAFTWERK UNION, AG)
Reactor Unit Details | [27 empty] | Key Dates
Reactor type and model | [12 empty] | : |  |  | PWR / Konvoi | [11 empty] | Construction Date | [15 empty] | : |  |  | 1982-08-10
Thermal power | [12 empty] | : |  |  | 3850 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 1988-04-19
Gross electrical power | [12 empty] | : |  |  | 1406 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | : |  |  | 1988-06-20
Reference unit power (net) | [12 empty] | : |  |  | 1335 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 35 years
Design Characteristics
| Primary Systems | [28 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 15.8
| Reactor vessel centreline orientation | [13 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 326
| Fuel material | [13 empty] | : |  |  | UO2 | [11 empty] | Number of SG | [15 empty] | : |  |  | 4
| Refuelling type | [13 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | Double
| Moderator material | [13 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | : |  |  | 0.62
| Average fuel enrichment [% of U235] | [13 empty] | : |  |  | 3.2 | [11 empty] | Secondary systems
| Refuelling frequency [month] | [13 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 1
| Part of the core refuelled [%] | [13 empty] | : |  |  | 33 | [11 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 1500
| Average discharge burnup [MWd/t] | [13 empty] | : |  |  | 32000 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | -
| Active core diameter [m] | [13 empty] | : |  |  | 3.6 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 6.05
| Active core height/length [m] | [13 empty] | : |  |  | 3.9 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | -
| Number of fissile fuel assemblies/bundles | [13 empty] | : |  |  | 193 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | River (once-through)
| Fuel linear heat generation rate [kW/m] | [13 empty] | : |  |  | 16.4 | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | -
| Number of control rod assemblies | [13 empty] | : |  |  | 61 | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | -
| Number of external reactor coolant loops | [13 empty] | : |  |  | 4 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | -
| Coolant type | [13 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | none
Annual Production Results (2023)
Net Energy Production | [18 empty] | : | 2103.9 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 0.01 %
Energy Availability Factor (EAF) | [18 empty] | : | 76.31 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 0.01 %
Unit Capability Factor (UCF) | [18 empty] | : | 83.67 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 16.32 %
Load Factor (LF) | [18 empty] | : | 60.96 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 7.37 %
Operating Factor (OF) | [18 empty] | : | 83.66 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 353 hours
Annual Summary
[5 empty] | Oct | Nov |  |  |  | Dec |  | Apr | [8 empty] | May |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  | Sep |  |  | Jan |  |  | Feb | [9 empty] | Mar |  |  | Annual
GW(e)-h | [39 empty] | 513.41 |  |  | 521.97 | [9 empty] | 722.36 |  |  | 1757.74
EAF [%] | [39 empty] | 51.94 |  |  | 77.05 | [9 empty] | 100.00 |  |  | 76.31
UCF [%] | [39 empty] | 67.20 |  |  | 83.83 | [9 empty] | 100.00 |  |  | 83.67
LF [%] | [39 empty] | 51.69 |  |  | 58.18 | [9 empty] | 72.73 |  |  | 60.96
OF [%] | [39 empty] | 67.20 |  |  | 83.78 | [9 empty] | 100.00 |  |  | 83.66
FLR [%] | [39 empty] | 0.00 |  |  | 0.03 | [9 empty] | 0.00 |  |  | 0.01
UCL [%] | [39 empty] | 0.00 |  |  | 0.03 | [9 empty] | 0.00 |  |  | 0.01
PUF [%] | [39 empty] | 32.80 |  |  | 16.15 | [9 empty] | 0.00 |  |  | 16.32
XUF [%] | [39 empty] | 15.26 |  |  | 6.78 | [9 empty] | 0.00 |  |  | 7.37
Historical Summary
Lifetime energy generation | [13 empty] | : |  |  | 372718.97 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 0.34 %
Cumulative Energy Availability Factor (EAF) | [13 empty] | : |  |  | 93.21 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 0.56 %
Cumulative Unit Capability Factor (UCF) | [13 empty] | : |  |  | 93.51 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 5.93 %
Cumulative Load Factor (LF) | [13 empty] | : |  |  | 92.48 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 0.3 %
Cumulative Operating Factor (OF) | [13 empty] | : |  |  | 93.66 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
1988 |  |  |  | 5694.91 |  |  | 4516 |  |  |  | 1262 | [10 empty] | 96.27 |  |  |  | 96.27 | [5 empty] | 98.06 |  |  | 96.54 |  |  |  | 3.68 |  | 3.68 | [8 empty] | 0.05 |  |  |  |  | 0.00
1989 |  |  |  | 9857.21 |  |  | 7794 |  |  |  | 1242 | [10 empty] | 88.65 |  |  |  | 88.65 | [5 empty] | 90.60 |  |  | 88.97 |  |  |  | 1.23 |  | 1.10 | [8 empty] | 10.25 |  |  |  |  | 0.00
1990 |  |  |  | 10039.24 |  |  | 7956 |  |  |  | 1256 | [10 empty] | 90.37 |  |  |  | 90.37 | [5 empty] | 91.18 |  |  | 90.82 |  |  |  | 0.14 |  | 0.13 | [8 empty] | 9.50 |  |  |  |  | 0.00
1991 |  |  |  | 9287.28 |  |  | 7304 |  |  |  | 1242 | [10 empty] | 81.99 |  |  |  | 81.99 | [5 empty] | 85.36 |  |  | 83.38 |  |  |  | 0.01 |  | 0.01 | [8 empty] | 18.00 |  |  |  |  | 0.00
1992 |  |  |  | 10158.05 |  |  | 7933 |  |  |  | 1290 | [10 empty] | 90.16 |  |  |  | 90.16 | [5 empty] | 89.65 |  |  | 90.31 |  |  |  | 1.93 |  | 1.77 | [8 empty] | 8.07 |  |  |  |  | 0.00
1993 |  |  |  | 10477.10 |  |  | 8147 |  |  |  | 1290 | [10 empty] | 92.92 |  |  |  | 92.92 | [5 empty] | 92.71 |  |  | 93.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 7.08 |  |  |  |  | 0.00
1994 |  |  |  | 10526.69 |  |  | 8193 |  |  |  | 1290 | [10 empty] | 93.43 |  |  |  | 93.43 | [5 empty] | 93.15 |  |  | 93.53 |  |  |  | 0.56 |  | 0.53 | [8 empty] | 6.04 |  |  |  |  | 0.00
1995 |  |  |  | 10495.72 |  |  | 8168 |  |  |  | 1290 | [10 empty] | 93.09 |  |  |  | 93.09 | [5 empty] | 92.88 |  |  | 93.24 |  |  |  | 1.75 |  | 1.66 | [8 empty] | 5.25 |  |  |  |  | 0.00
1996 |  |  |  | 10557.29 |  |  | 8195 |  |  |  | 1290 | [10 empty] | 93.19 |  |  |  | 93.19 | [5 empty] | 93.17 |  |  | 93.29 |  |  |  | 0.04 |  | 0.04 | [8 empty] | 6.77 |  |  |  |  | 0.00
1997 |  |  |  | 10650.19 |  |  | 8298 |  |  |  | 1290 | [10 empty] | 94.58 |  |  |  | 94.58 | [5 empty] | 94.25 |  |  | 94.73 |  |  |  | 0.05 |  | 0.05 | [8 empty] | 5.37 |  |  |  |  | 0.00
1998 |  |  |  | 10794.75 |  |  | 8388 |  |  |  | 1290 | [10 empty] | 95.69 |  |  |  | 95.69 | [5 empty] | 95.53 |  |  | 95.75 |  |  |  | 0.11 |  | 0.10 | [8 empty] | 4.21 |  |  |  |  | 0.00
1999 |  |  |  | 10729.18 |  |  | 8413 |  |  |  | 1290 | [10 empty] | 95.96 |  |  |  | 95.96 | [5 empty] | 94.95 |  |  | 96.04 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.04 |  |  |  |  | 0.00
2000 |  |  |  | 10801.99 |  |  | 8339 |  |  |  | 1329 | [10 empty] | 94.91 |  |  |  | 94.91 | [5 empty] | 94.14 |  |  | 94.93 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 5.09 |  |  |  |  | 0.00
2001 |  |  |  | 10933.15 |  |  | 8257 |  |  |  | 1329 | [10 empty] | 93.80 |  |  |  | 94.15 | [5 empty] | 93.91 |  |  | 94.26 |  |  |  | 0.30 |  | 0.29 | [8 empty] | 5.57 |  |  |  |  | 0.35
2002 |  |  |  | 11242.30 |  |  | 8497 |  |  |  | 1329 | [10 empty] | 96.86 |  |  |  | 96.86 | [5 empty] | 96.57 |  |  | 97.00 |  |  |  | 0.11 |  | 0.10 | [8 empty] | 3.04 |  |  |  |  | 0.00
2003 |  |  |  | 11096.98 |  |  | 8401 |  |  |  | 1329 | [10 empty] | 95.84 |  |  |  | 95.84 | [5 empty] | 95.32 |  |  | 95.90 |  |  |  | 0.01 |  | 0.01 | [8 empty] | 4.15 |  |  |  |  | 0.00
2004 |  |  |  | 11147.20 |  |  | 8456 |  |  |  | 1329 | [10 empty] | 96.08 |  |  |  | 96.08 | [5 empty] | 95.49 |  |  | 96.27 |  |  |  | 0.10 |  | 0.70 | [8 empty] | 3.23 |  |  |  |  | 0.00
2005 |  |  |  | 10887.83 |  |  | 8239 |  |  |  | 1329 | [10 empty] | 93.92 |  |  |  | 93.92 | [5 empty] | 93.51 |  |  | 94.04 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 6.08 |  |  |  |  | 0.00
2006 |  |  |  | 11147.60 |  |  | 8461 |  |  |  | 1329 | [10 empty] | 95.80 |  |  |  | 96.43 | [5 empty] | 95.75 |  |  | 96.59 |  |  |  | 0.03 |  | 0.03 | [8 empty] | 3.55 |  |  |  |  | 0.63
2007 |  |  |  | 10989.22 |  |  | 8311 |  |  |  | 1329 | [10 empty] | 94.43 |  |  |  | 94.70 | [5 empty] | 94.38 |  |  | 94.86 |  |  |  | 0.16 |  | 0.88 | [8 empty] | 4.42 |  |  |  |  | 0.27
2008 |  |  |  | 10896.15 |  |  | 8211 |  |  |  | 1329 | [10 empty] | 93.37 |  |  |  | 93.45 | [5 empty] | 93.34 |  |  | 93.48 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 6.55 |  |  |  |  | 0.08
2009 |  |  |  | 10849.24 |  |  | 8194 |  |  |  | 1329 | [10 empty] | 93.25 |  |  |  | 93.27 | [5 empty] | 93.19 |  |  | 93.54 |  |  |  | 2.81 |  | 2.82 | [8 empty] | 3.92 |  |  |  |  | 0.02
2010 |  |  |  | 10977.96 |  |  | 8286 |  |  |  | 1329 | [10 empty] | 94.41 |  |  |  | 94.42 | [5 empty] | 94.30 |  |  | 94.59 |  |  |  | 0.08 |  | 0.07 | [8 empty] | 5.50 |  |  |  |  | 0.01
2011 |  |  |  | 11055.52 |  |  | 8339 |  |  |  | 1329 | [10 empty] | 94.97 |  |  |  | 95.06 | [5 empty] | 94.96 |  |  | 95.19 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.94 |  |  |  |  | 0.08
2012 |  |  |  | 10847.66 |  |  | 8314 |  |  |  | 1329 | [10 empty] | 94.50 |  |  |  | 94.50 | [5 empty] | 92.92 |  |  | 94.65 |  |  |  | 0.06 |  | 0.06 | [8 empty] | 5.44 |  |  |  |  | 0.00
2013 |  |  |  | 10912.11 |  |  | 8328 |  |  |  | 1329 | [10 empty] | 94.95 |  |  |  | 94.95 | [5 empty] | 93.73 |  |  | 95.07 |  |  |  | 0.41 |  | 0.39 | [8 empty] | 4.66 |  |  |  |  | 0.00
2014 |  |  |  | 10954.90 |  |  | 8341 |  |  |  | 1335 | [10 empty] | 95.14 |  |  |  | 95.14 | [5 empty] | 93.88 |  |  | 95.22 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.86 |  |  |  |  | 0.00
2015 |  |  |  | 10396.15 |  |  | 7980 |  |  |  | 1335 | [10 empty] | 90.60 |  |  |  | 90.60 | [5 empty] | 88.90 |  |  | 91.10 |  |  |  | 0.03 |  | 1.46 | [8 empty] | 7.94 |  |  |  |  | 0.00
2016 |  |  |  | 10539.68 |  |  | 8279 |  |  |  | 1335 | [10 empty] | 90.44 |  |  |  | 94.13 | [5 empty] | 89.88 |  |  | 94.25 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 5.86 |  |  |  |  | 3.70
2017 |  |  |  | 10751.53 |  |  | 8171 |  |  |  | 1335 | [10 empty] | 92.93 |  |  |  | 93.13 | [5 empty] | 91.94 |  |  | 93.28 |  |  |  | 0.01 |  | 0.01 | [8 empty] | 6.87 |  |  |  |  | 0.20
2018 |  |  |  | 10915.03 |  |  | 8303 |  |  |  | 1335 | [10 empty] | 94.16 |  |  |  | 94.67 | [5 empty] | 93.33 |  |  | 94.78 |  |  |  | 0.03 |  | 0.51 | [8 empty] | 4.82 |  |  |  |  | 0.51
2019 |  |  |  | 10237.09 |  |  | 7814 |  |  |  | 1335 | [10 empty] | 88.70 |  |  |  | 89.12 | [5 empty] | 87.54 |  |  | 89.20 |  |  |  | 0.00 |  | 4.83 | [8 empty] | 6.05 |  |  |  |  | 0.42
2020 |  |  |  | 10836.45 |  |  | 8242 |  |  |  | 1335 | [10 empty] | 93.61 |  |  |  | 93.76 | [5 empty] | 92.41 |  |  | 93.83 |  |  |  | 0.07 |  | 0.06 | [8 empty] | 6.18 |  |  |  |  | 0.15
2021 |  |  |  | 10779.48 |  |  | 8360 |  |  |  | 1335 | [10 empty] | 94.85 |  |  |  | 95.37 | [5 empty] | 92.17 |  |  | 95.43 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.63 |  |  |  |  | 0.51
2022 |  |  |  | 9846.05 |  |  | 8311 |  |  |  | 1335 | [10 empty] | 93.36 |  |  |  | 94.83 | [5 empty] | 84.19 |  |  | 94.87 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 5.17 |  |  |  |  | 1.47
2023 |  |  |  | 2103.90 |  |  | 2167 |  |  |  | 1335 | [10 empty] | 76.31 |  |  |  | 83.67 | [5 empty] | 60.96 |  |  | 83.66 |  |  |  | 0.01 |  | 0.01 | [8 empty] | 16.32 |  |  |  |  | 7.37
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[23 empty] | 2023 | [14 empty] | 1988 to 2023
Outage Cause | [22 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[23 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [24 empty] | 1 | [14 empty] | 41
B. |  | Refuelling without maintenance | [20 empty] | 353 | [14 empty] | 10
C. |  | Inspection, maintenance or repair combined with refuelling | [35 empty] | 473
D. |  | Inspection, maintenance or repair without refuelling | [35 empty] | 3
J. |  | Grid limitation, failure or grid unavailability | [51 empty] | 0
L. |  | Human factor related | [39 empty] | 2
S. |  | Fuel management limitation (including high flux tilt, stretch out or coast-down operation) | [35 empty] | 4
Z. |  | Other | [39 empty] | 2
Subtotal | [22 empty] | 353 |  |  |  | 1 | [10 empty] | 490 |  |  |  | 45 | [11 empty] | 0
Total | [22 empty] | 354 | [14 empty] | 535
Equipment Related Unplanned Full Outages, Analysis by System
System | [22 empty] | 2023 | [14 empty] | 1988 to 2023
[23 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [19 empty] | 1 | [14 empty] | 0
12. |  |  | Reactor I&C Systems | [34 empty] | 6
13. |  |  | Reactor Auxiliary Systems | [34 empty] | 0
15. |  |  | Reactor Cooling Systems | [34 empty] | 11
21. |  |  | Fuel Handling and Storage Facilities | [34 empty] | 12
31. |  |  | Turbine and auxiliaries | [34 empty] | 2
41. |  |  | Main Generator Systems | [34 empty] | 8
42. |  |  | Electrical Power Supply Systems | [34 empty] | 1
Total | [22 empty] | 1 | [14 empty] | 40

## ISAR-2
2023 Operating Experience
DE-31 | [8 empty] | ISAR-2 | [26 empty] | GERMANY
Status at end of year | [7 empty] | : | Permanent Shutdown
Operator | [7 empty] | : | PElektra (PreussenElektra GmbH)
Owner | [7 empty] | : | PEL/SwM (1. (75%) PreussenElektra GmbH 2. (25%) Stadtwerke München)
Reactor Supplier | [7 empty] | : | KWU (KRAFTWERK UNION, AG)
Turbine Supplier | [7 empty] | : | KWU (KRAFTWERK UNION, AG)
Reactor Unit Details | [27 empty] | Key Dates
Reactor type and model | [12 empty] | : |  |  | PWR / Konvoi | [11 empty] | Construction Date | [15 empty] | : |  |  | 1982-09-15
Thermal power | [12 empty] | : |  |  | 3950 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 1988-01-22
Gross electrical power | [12 empty] | : |  |  | 1485 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | : |  |  | 1988-04-09
Reference unit power (net) | [12 empty] | : |  |  | 1410 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 35 years
Design Characteristics
| Primary Systems | [28 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 15.8
| Reactor vessel centreline orientation | [13 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 328
| Fuel material | [13 empty] | : |  |  | UO2/MOX | [11 empty] | Number of SG | [15 empty] | : |  |  | 4
| Refuelling type | [13 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | Double
| Moderator material | [13 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | : |  |  | 0.52
| Average fuel enrichment [% of U235] | [13 empty] | : |  |  | 3.2 | [11 empty] | Secondary systems
| Refuelling frequency [month] | [13 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 1
| Part of the core refuelled [%] | [13 empty] | : |  |  | 20 | [11 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 1500
| Average discharge burnup [MWd/t] | [13 empty] | : |  |  | 32000 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | -
| Active core diameter [m] | [13 empty] | : |  |  | 3.6 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 6.43
| Active core height/length [m] | [13 empty] | : |  |  | 3.9 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | 35
| Number of fissile fuel assemblies/bundles | [13 empty] | : |  |  | 193 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | River (once-through)
| Fuel linear heat generation rate [kW/m] | [13 empty] | : |  |  | 16.4 | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | -
| Number of control rod assemblies | [13 empty] | : |  |  | 61 | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | -
| Number of external reactor coolant loops | [13 empty] | : |  |  | 4 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | -
| Coolant type | [13 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | none
Annual Production Results (2023)
Net Energy Production | [18 empty] | : | 2834.05 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 0 %
Energy Availability Factor (EAF) | [18 empty] | : | 84.78 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 0 %
Unit Capability Factor (UCF) | [18 empty] | : | 99.96 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 0.04 %
Load Factor (LF) | [18 empty] | : | 82.92 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 15.18 %
Operating Factor (OF) | [18 empty] | : | 100 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 0 hours
Annual Summary
[5 empty] | Oct | Nov |  |  |  | Dec |  | Apr | [8 empty] | May |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  | Sep |  |  | Jan |  |  | Feb | [9 empty] | Mar |  |  | Annual
GW(e)-h | [39 empty] | 971.79 |  |  | 791.28 | [9 empty] | 762.44 |  |  | 2525.50
EAF [%] | [39 empty] | 94.99 |  |  | 86.72 | [9 empty] | 72.81 |  |  | 84.78
UCF [%] | [39 empty] | 99.89 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 99.96
LF [%] | [39 empty] | 92.64 |  |  | 83.51 | [9 empty] | 72.68 |  |  | 82.92
OF [%] | [39 empty] | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 100.00
FLR [%] | [39 empty] | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.00
UCL [%] | [39 empty] | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.00
PUF [%] | [39 empty] | 0.11 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.04
XUF [%] | [39 empty] | 4.90 |  |  | 13.28 | [9 empty] | 27.19 |  |  | 15.18
Historical Summary
Lifetime energy generation | [13 empty] | : |  |  | 382692.07 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 0.85 %
Cumulative Energy Availability Factor (EAF) | [13 empty] | : |  |  | 92.45 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 1.26 %
Cumulative Unit Capability Factor (UCF) | [13 empty] | : |  |  | 92.86 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 5.88 %
Cumulative Load Factor (LF) | [13 empty] | : |  |  | 89.78 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 0.41 %
Cumulative Operating Factor (OF) | [13 empty] | : |  |  | 93.49 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
1988 |  |  |  | 6023.00 |  |  | 6177 |  |  |  | 1323 | [10 empty] | 95.09 |  |  |  | 95.09 | [5 empty] | 69.65 |  |  | 93.58 |  |  |  | 4.81 |  | 4.81 | [8 empty] | 0.11 |  |  |  |  | 0.00
1989 |  |  |  | 7728.92 |  |  | 6876 |  |  |  | 1310 | [10 empty] | 73.41 |  |  |  | 73.41 | [5 empty] | 67.35 |  |  | 78.49 |  |  |  | 12.96 |  | 10.93 | [8 empty] | 15.65 |  |  |  |  | 0.00
1990 |  |  |  | 9271.36 |  |  | 7915 |  |  |  | 1310 | [10 empty] | 84.94 |  |  |  | 84.94 | [5 empty] | 80.79 |  |  | 90.35 |  |  |  | 0.58 |  | 0.49 | [8 empty] | 14.57 |  |  |  |  | 0.00
1991 |  |  |  | 9699.19 |  |  | 7732 |  |  |  | 1318 | [10 empty] | 87.78 |  |  |  | 87.78 | [5 empty] | 83.98 |  |  | 88.26 |  |  |  | 1.54 |  | 1.38 | [8 empty] | 10.84 |  |  |  |  | 0.00
1992 |  |  |  | 9843.49 |  |  | 7917 |  |  |  | 1320 | [10 empty] | 89.93 |  |  |  | 89.93 | [5 empty] | 84.90 |  |  | 90.13 |  |  |  | 0.36 |  | 0.32 | [8 empty] | 9.75 |  |  |  |  | 0.00
1993 |  |  |  | 10192.97 |  |  | 8052 |  |  |  | 1330 | [10 empty] | 88.08 |  |  |  | 91.26 | [5 empty] | 87.49 |  |  | 91.92 |  |  |  | 0.03 |  | 0.03 | [8 empty] | 8.71 |  |  |  |  | 3.18
1994 |  |  |  | 10499.86 |  |  | 8209 |  |  |  | 1330 | [10 empty] | 93.14 |  |  |  | 93.14 | [5 empty] | 90.12 |  |  | 93.71 |  |  |  | 1.00 |  | 0.94 | [8 empty] | 5.92 |  |  |  |  | 0.00
1995 |  |  |  | 10040.31 |  |  | 7891 |  |  |  | 1332 | [10 empty] | 89.85 |  |  |  | 89.85 | [5 empty] | 86.01 |  |  | 90.08 |  |  |  | 0.18 |  | 0.16 | [8 empty] | 9.99 |  |  |  |  | 0.00
1996 |  |  |  | 10265.10 |  |  | 7989 |  |  |  | 1338 | [10 empty] | 88.52 |  |  |  | 90.65 | [5 empty] | 87.29 |  |  | 90.95 |  |  |  | 0.08 |  | 0.07 | [8 empty] | 9.27 |  |  |  |  | 2.13
1997 |  |  |  | 10906.39 |  |  | 8258 |  |  |  | 1365 | [10 empty] | 94.10 |  |  |  | 94.10 | [5 empty] | 91.21 |  |  | 94.27 |  |  |  | 0.02 |  | 0.02 | [8 empty] | 5.88 |  |  |  |  | 0.00
1998 |  |  |  | 10758.10 |  |  | 8356 |  |  |  | 1365 | [10 empty] | 93.60 |  |  |  | 93.61 | [5 empty] | 89.97 |  |  | 95.39 |  |  |  | 1.65 |  | 1.57 | [8 empty] | 4.82 |  |  |  |  | 0.01
1999 |  |  |  | 11610.87 |  |  | 8465 |  |  |  | 1380 | [10 empty] | 96.51 |  |  |  | 96.51 | [5 empty] | 96.05 |  |  | 96.63 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 3.49 |  |  |  |  | 0.00
2000 |  |  |  | 11291.15 |  |  | 8311 |  |  |  | 1400 | [10 empty] | 94.50 |  |  |  | 94.50 | [5 empty] | 91.82 |  |  | 94.62 |  |  |  | 0.05 |  | 0.04 | [8 empty] | 5.46 |  |  |  |  | 0.00
2001 |  |  |  | 11731.31 |  |  | 8506 |  |  |  | 1400 | [10 empty] | 97.14 |  |  |  | 97.14 | [5 empty] | 95.66 |  |  | 97.10 |  |  |  | 0.01 |  | 0.01 | [8 empty] | 2.84 |  |  |  |  | 0.00
2002 |  |  |  | 11512.23 |  |  | 8350 |  |  |  | 1400 | [10 empty] | 95.10 |  |  |  | 95.10 | [5 empty] | 93.87 |  |  | 95.32 |  |  |  | 0.07 |  | 0.06 | [8 empty] | 4.84 |  |  |  |  | 0.00
2003 |  |  |  | 11671.59 |  |  | 8491 |  |  |  | 1400 | [10 empty] | 95.93 |  |  |  | 96.67 | [5 empty] | 95.17 |  |  | 96.93 |  |  |  | 0.29 |  | 0.28 | [8 empty] | 3.05 |  |  |  |  | 0.75
2004 |  |  |  | 11595.28 |  |  | 8395 |  |  |  | 1400 | [10 empty] | 95.39 |  |  |  | 95.39 | [5 empty] | 94.29 |  |  | 95.57 |  |  |  | 0.05 |  | 0.57 | [8 empty] | 4.05 |  |  |  |  | 0.00
2005 |  |  |  | 11102.56 |  |  | 7976 |  |  |  | 1400 | [10 empty] | 90.52 |  |  |  | 90.87 | [5 empty] | 90.53 |  |  | 91.05 |  |  |  | 0.02 |  | 2.57 | [8 empty] | 6.55 |  |  |  |  | 0.35
2006 |  |  |  | 11755.26 |  |  | 8494 |  |  |  | 1400 | [10 empty] | 96.61 |  |  |  | 96.82 | [5 empty] | 95.85 |  |  | 96.96 |  |  |  | 0.01 |  | 0.01 | [8 empty] | 3.18 |  |  |  |  | 0.20
2007 |  |  |  | 11377.49 |  |  | 8200 |  |  |  | 1400 | [10 empty] | 93.05 |  |  |  | 93.43 | [5 empty] | 92.76 |  |  | 93.60 |  |  |  | 0.00 |  | 1.48 | [8 empty] | 5.09 |  |  |  |  | 0.38
2008 |  |  |  | 11456.15 |  |  | 8217 |  |  |  | 1400 | [10 empty] | 93.15 |  |  |  | 93.33 | [5 empty] | 93.16 |  |  | 93.55 |  |  |  | 1.10 |  | 2.36 | [8 empty] | 4.31 |  |  |  |  | 0.18
2009 |  |  |  | 11484.85 |  |  | 8277 |  |  |  | 1410 | [10 empty] | 94.32 |  |  |  | 94.32 | [5 empty] | 93.37 |  |  | 94.49 |  |  |  | 0.00 |  | 1.65 | [8 empty] | 4.03 |  |  |  |  | 0.00
2010 |  |  |  | 11375.28 |  |  | 8162 |  |  |  | 1410 | [10 empty] | 92.99 |  |  |  | 92.99 | [5 empty] | 92.10 |  |  | 93.17 |  |  |  | 0.00 |  | 1.21 | [8 empty] | 5.81 |  |  |  |  | 0.00
2011 |  |  |  | 11655.84 |  |  | 8378 |  |  |  | 1410 | [10 empty] | 95.48 |  |  |  | 95.48 | [5 empty] | 94.37 |  |  | 95.64 |  |  |  | 0.00 |  | 0.67 | [8 empty] | 3.85 |  |  |  |  | 0.00
2012 |  |  |  | 11385.03 |  |  | 8299 |  |  |  | 1410 | [10 empty] | 94.31 |  |  |  | 94.31 | [5 empty] | 91.92 |  |  | 94.48 |  |  |  | 0.00 |  | 0.37 | [8 empty] | 5.32 |  |  |  |  | 0.00
2013 |  |  |  | 11402.06 |  |  | 8400 |  |  |  | 1410 | [10 empty] | 94.29 |  |  |  | 94.31 | [5 empty] | 92.31 |  |  | 95.89 |  |  |  | 1.63 |  | 1.84 | [8 empty] | 3.85 |  |  |  |  | 0.02
2014 |  |  |  | 10794.90 |  |  | 8350 |  |  |  | 1410 | [10 empty] | 90.48 |  |  |  | 90.55 | [5 empty] | 87.40 |  |  | 95.32 |  |  |  | 4.77 |  | 4.72 | [8 empty] | 4.73 |  |  |  |  | 0.07
2015 |  |  |  | 10505.19 |  |  | 7798 |  |  |  | 1410 | [10 empty] | 88.67 |  |  |  | 88.75 | [5 empty] | 85.05 |  |  | 89.02 |  |  |  | 0.00 |  | 4.16 | [8 empty] | 7.10 |  |  |  |  | 0.08
2016 |  |  |  | 11338.88 |  |  | 8420 |  |  |  | 1410 | [10 empty] | 93.97 |  |  |  | 95.68 | [5 empty] | 91.55 |  |  | 95.86 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.32 |  |  |  |  | 1.71
2017 |  |  |  | 10901.56 |  |  | 8019 |  |  |  | 1410 | [10 empty] | 90.50 |  |  |  | 91.15 | [5 empty] | 88.26 |  |  | 91.54 |  |  |  | 0.50 |  | 0.71 | [8 empty] | 8.14 |  |  |  |  | 0.64
2018 |  |  |  | 11477.22 |  |  | 8363 |  |  |  | 1410 | [10 empty] | 94.85 |  |  |  | 95.24 | [5 empty] | 92.92 |  |  | 95.47 |  |  |  | 0.24 |  | 0.97 | [8 empty] | 3.79 |  |  |  |  | 0.39
2019 |  |  |  | 11384.22 |  |  | 8405 |  |  |  | 1410 | [10 empty] | 95.28 |  |  |  | 95.77 | [5 empty] | 92.17 |  |  | 95.95 |  |  |  | 0.10 |  | 0.16 | [8 empty] | 4.07 |  |  |  |  | 0.49
2020 |  |  |  | 11030.83 |  |  | 8183 |  |  |  | 1410 | [10 empty] | 92.99 |  |  |  | 92.99 | [5 empty] | 89.06 |  |  | 93.16 |  |  |  | 0.10 |  | 0.18 | [8 empty] | 6.83 |  |  |  |  | 0.00
2021 |  |  |  | 11421.16 |  |  | 8304 |  |  |  | 1410 | [10 empty] | 94.62 |  |  |  | 94.62 | [5 empty] | 92.47 |  |  | 94.79 |  |  |  | 0.10 |  | 0.43 | [8 empty] | 4.95 |  |  |  |  | 0.00
2022 |  |  |  | 11610.81 |  |  | 8520 |  |  |  | 1410 | [10 empty] | 96.87 |  |  |  | 96.88 | [5 empty] | 94.00 |  |  | 97.26 |  |  |  | 0.50 |  | 0.49 | [8 empty] | 2.63 |  |  |  |  | 0.02
2023 |  |  |  | 2834.05 |  |  | 2520 |  |  |  | 1410 | [10 empty] | 84.78 |  |  |  | 99.96 | [5 empty] | 82.92 |  |  | 100.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.04 |  |  |  |  | 15.18
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[23 empty] | 2023 | [14 empty] | 1988 to 2023
Outage Cause | [22 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[23 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [39 empty] | 65
B. |  | Refuelling without maintenance | [35 empty] | 10
C. |  | Inspection, maintenance or repair combined with refuelling | [35 empty] | 457 |  |  |  | 6
D. |  | Inspection, maintenance or repair without refuelling | [35 empty] | 6
E. |  | Testing of plant systems or components | [35 empty] | 0 |  |  |  | 1
H. |  | Nuclear regulatory requirements | [24 empty] | 1 | [14 empty] | 0
L. |  | Human factor related | [39 empty] | 7
Z. |  | Other | [39 empty] | 1
Subtotal | [26 empty] | 1 | [10 empty] | 473 |  |  |  | 80
Total | [22 empty] | 1 | [14 empty] | 553
Equipment Related Unplanned Full Outages, Analysis by System
System | [22 empty] | 2023 | [14 empty] | 1988 to 2023
[23 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [34 empty] | 9
15. |  |  | Reactor Cooling Systems | [34 empty] | 12
17. |  |  | Safety I&C Systems (excluding reactor I&C) | [34 empty] | 0
21. |  |  | Fuel Handling and Storage Facilities | [34 empty] | 0
31. |  |  | Turbine and auxiliaries | [34 empty] | 4
32. |  |  | Feedwater and Main Steam System | [34 empty] | 12
35. |  |  | All other I&C Systems | [34 empty] | 0
41. |  |  | Main Generator Systems | [34 empty] | 27
42. |  |  | Electrical Power Supply Systems | [34 empty] | 0
Total | [37 empty] | 64

## NECKARWESTHEIM-2
2023 Operating Experience
DE-44 | [8 empty] | NECKARWESTHEIM-2 | [26 empty] | GERMANY
Status at end of year | [7 empty] | : | Permanent Shutdown
Operator | [7 empty] | : | EnKK (EnBW Kernkraft GmbH)
Owner | [7 empty] | : | EnKK (EnBW Kernkraft GmbH)
Reactor Supplier | [7 empty] | : | KWU (KRAFTWERK UNION, AG)
Turbine Supplier | [7 empty] | : | KWU (KRAFTWERK UNION, AG)
Reactor Unit Details | [27 empty] | Key Dates
Reactor type and model | [12 empty] | : |  |  | PWR / Konvoi | [11 empty] | Construction Date | [15 empty] | : |  |  | 1982-11-09
Thermal power | [12 empty] | : |  |  | 3850 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 1989-01-03
Gross electrical power | [12 empty] | : |  |  | 1400 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | : |  |  | 1989-04-15
Reference unit power (net) | [12 empty] | : |  |  | 1310 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 34 years
Design Characteristics
| Primary Systems | [28 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 15.8
| Reactor vessel centreline orientation | [13 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 325.6
| Fuel material | [13 empty] | : |  |  | UO2/MOX | [11 empty] | Number of SG | [15 empty] | : |  |  | 4
| Refuelling type | [13 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | Double
| Moderator material | [13 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | : |  |  | 0.52
| Average fuel enrichment [% of U235] | [13 empty] | : |  |  | 2.0 | [11 empty] | Secondary systems
| Refuelling frequency [month] | [13 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 1
| Part of the core refuelled [%] | [13 empty] | : |  |  | 23 | [11 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 1500
| Average discharge burnup [MWd/t] | [13 empty] | : |  |  | 46000 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | -
| Active core diameter [m] | [13 empty] | : |  |  | 3.6 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 6.23
| Active core height/length [m] | [13 empty] | : |  |  | 3.9 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | -
| Number of fissile fuel assemblies/bundles | [13 empty] | : |  |  | 193 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | Cooling Towers
| Fuel linear heat generation rate [kW/m] | [13 empty] | : |  |  | 16.4 | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | -
| Number of control rod assemblies | [13 empty] | : |  |  | 61 | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | -
| Number of external reactor coolant loops | [13 empty] | : |  |  | 4 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | -
| Coolant type | [13 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | none
Annual Production Results (2023)
Net Energy Production | [18 empty] | : | 1785.06 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 0.03 %
Energy Availability Factor (EAF) | [18 empty] | : | 51.96 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 0.03 %
Unit Capability Factor (UCF) | [18 empty] | : | 79.79 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 20.19 %
Load Factor (LF) | [18 empty] | : | 52.12 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 27.83 %
Operating Factor (OF) | [18 empty] | : | 79.77 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 437 hours
Annual Summary
[5 empty] | Oct | Nov |  |  |  | Dec |  | Apr | [8 empty] | May |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  | Sep |  |  | Jan |  |  | Feb | [9 empty] | Mar |  |  | Annual
GW(e)-h | [39 empty] | 241.40 |  |  | 586.22 | [9 empty] | 647.08 |  |  | 1474.70
EAF [%] | [39 empty] | 24.46 |  |  | 66.33 | [9 empty] | 66.48 |  |  | 51.96
UCF [%] | [39 empty] | 41.40 |  |  | 99.91 | [9 empty] | 100.00 |  |  | 79.79
LF [%] | [39 empty] | 24.77 |  |  | 66.59 | [9 empty] | 66.39 |  |  | 52.12
OF [%] | [39 empty] | 41.40 |  |  | 100.00 | [9 empty] | 99.87 |  |  | 79.77
FLR [%] | [39 empty] | 0.00 |  |  | 0.09 | [9 empty] | 0.00 |  |  | 0.03
UCL [%] | [39 empty] | 0.00 |  |  | 0.09 | [9 empty] | 0.00 |  |  | 0.03
PUF [%] | [39 empty] | 58.60 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 20.19
XUF [%] | [39 empty] | 16.94 |  |  | 33.58 | [9 empty] | 33.52 |  |  | 27.83
Historical Summary
Lifetime energy generation | [13 empty] | : |  |  | 351204.03 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 0.89 %
Cumulative Energy Availability Factor (EAF) | [13 empty] | : |  |  | 91.98 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 1.18 %
Cumulative Unit Capability Factor (UCF) | [13 empty] | : |  |  | 92.52 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 6.3 %
Cumulative Load Factor (LF) | [13 empty] | : |  |  | 90.96 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 0.54 %
Cumulative Operating Factor (OF) | [13 empty] | : |  |  | 92.74 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
1989 |  |  |  | 8673.22 |  |  | 8205 |  |  |  | 1225 | [10 empty] | 99.76 |  |  |  | 99.76 | [5 empty] | 84.22 |  |  | 94.74 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.24 |  |  |  |  | 0.00
1990 |  |  |  | 9693.91 |  |  | 7958 |  |  |  | 1225 | [10 empty] | 90.21 |  |  |  | 90.21 | [5 empty] | 90.34 |  |  | 90.84 |  |  |  | 0.27 |  | 0.24 | [8 empty] | 9.55 |  |  |  |  | 0.00
1991 |  |  |  | 9434.93 |  |  | 7932 |  |  |  | 1225 | [10 empty] | 90.52 |  |  |  | 90.52 | [5 empty] | 87.92 |  |  | 90.55 |  |  |  | 0.14 |  | 0.13 | [8 empty] | 9.35 |  |  |  |  | 0.00
1992 |  |  |  | 10204.58 |  |  | 8094 |  |  |  | 1269 | [10 empty] | 91.58 |  |  |  | 91.58 | [5 empty] | 91.55 |  |  | 92.14 |  |  |  | 0.09 |  | 0.08 | [8 empty] | 8.35 |  |  |  |  | 0.00
1993 |  |  |  | 9912.15 |  |  | 8163 |  |  |  | 1269 | [10 empty] | 89.03 |  |  |  | 89.03 | [5 empty] | 89.17 |  |  | 93.18 |  |  |  | 0.04 |  | 0.04 | [8 empty] | 10.93 |  |  |  |  | 0.00
1994 |  |  |  | 10320.67 |  |  | 8215 |  |  |  | 1269 | [10 empty] | 93.60 |  |  |  | 93.60 | [5 empty] | 92.84 |  |  | 93.78 |  |  |  | 0.15 |  | 0.14 | [8 empty] | 6.26 |  |  |  |  | 0.00
1995 |  |  |  | 10532.05 |  |  | 8351 |  |  |  | 1269 | [10 empty] | 94.69 |  |  |  | 94.69 | [5 empty] | 94.74 |  |  | 95.33 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 5.31 |  |  |  |  | 0.00
1996 |  |  |  | 10614.28 |  |  | 8419 |  |  |  | 1269 | [10 empty] | 95.10 |  |  |  | 95.10 | [5 empty] | 95.22 |  |  | 95.84 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.90 |  |  |  |  | 0.00
1997 |  |  |  | 10111.62 |  |  | 8028 |  |  |  | 1269 | [10 empty] | 91.55 |  |  |  | 91.55 | [5 empty] | 90.96 |  |  | 91.64 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 8.45 |  |  |  |  | 0.00
1998 |  |  |  | 10610.81 |  |  | 8411 |  |  |  | 1269 | [10 empty] | 96.00 |  |  |  | 96.00 | [5 empty] | 95.45 |  |  | 96.02 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.00 |  |  |  |  | 0.00
1999 |  |  |  | 10460.93 |  |  | 8435 |  |  |  | 1269 | [10 empty] | 96.09 |  |  |  | 96.09 | [5 empty] | 94.10 |  |  | 96.29 |  |  |  | 0.04 |  | 0.04 | [8 empty] | 3.87 |  |  |  |  | 0.00
2000 |  |  |  | 10473.89 |  |  | 8450 |  |  |  | 1269 | [10 empty] | 96.20 |  |  |  | 96.20 | [5 empty] | 93.96 |  |  | 96.20 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 3.80 |  |  |  |  | 0.00
2001 |  |  |  | 10423.94 |  |  | 8363 |  |  |  | 1269 | [10 empty] | 94.18 |  |  |  | 95.40 | [5 empty] | 93.77 |  |  | 95.47 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.60 |  |  |  |  | 1.22
2002 |  |  |  | 9787.51 |  |  | 7777 |  |  |  | 1269 | [10 empty] | 88.67 |  |  |  | 88.67 | [5 empty] | 88.05 |  |  | 88.78 |  |  |  | 6.64 |  | 6.30 | [8 empty] | 5.03 |  |  |  |  | 0.00
2003 |  |  |  | 10544.97 |  |  | 8408 |  |  |  | 1269 | [10 empty] | 95.80 |  |  |  | 95.80 | [5 empty] | 94.86 |  |  | 95.98 |  |  |  | 1.28 |  | 1.24 | [8 empty] | 2.96 |  |  |  |  | 0.00
2004 |  |  |  | 10470.68 |  |  | 8165 |  |  |  | 1269 | [10 empty] | 92.87 |  |  |  | 92.87 | [5 empty] | 93.93 |  |  | 92.95 |  |  |  | 0.00 |  | 1.02 | [8 empty] | 6.11 |  |  |  |  | 0.00
2005 |  |  |  | 10836.41 |  |  | 8371 |  |  |  | 1305 | [10 empty] | 94.81 |  |  |  | 95.38 | [5 empty] | 94.79 |  |  | 95.56 |  |  |  | 0.17 |  | 0.16 | [8 empty] | 4.47 |  |  |  |  | 0.56
2006 |  |  |  | 10877.47 |  |  | 8405 |  |  |  | 1305 | [10 empty] | 95.41 |  |  |  | 95.90 | [5 empty] | 95.15 |  |  | 95.95 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 4.10 |  |  |  |  | 0.49
2007 |  |  |  | 10411.09 |  |  | 8002 |  |  |  | 1310 | [10 empty] | 91.07 |  |  |  | 91.13 | [5 empty] | 90.72 |  |  | 91.35 |  |  |  | 1.84 |  | 1.70 | [8 empty] | 7.17 |  |  |  |  | 0.05
2008 |  |  |  | 10701.91 |  |  | 8245 |  |  |  | 1310 | [10 empty] | 93.26 |  |  |  | 93.47 | [5 empty] | 93.00 |  |  | 93.86 |  |  |  | 0.00 |  | 1.93 | [8 empty] | 4.61 |  |  |  |  | 0.20
2009 |  |  |  | 10779.73 |  |  | 8307 |  |  |  | 1310 | [10 empty] | 94.59 |  |  |  | 94.75 | [5 empty] | 93.94 |  |  | 94.83 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 5.25 |  |  |  |  | 0.16
2010 |  |  |  | 10180.15 |  |  | 7864 |  |  |  | 1310 | [10 empty] | 88.62 |  |  |  | 89.49 | [5 empty] | 88.71 |  |  | 89.77 |  |  |  | 0.13 |  | 3.23 | [8 empty] | 7.28 |  |  |  |  | 0.87
2011 |  |  |  | 10807.81 |  |  | 8319 |  |  |  | 1310 | [10 empty] | 94.95 |  |  |  | 94.96 | [5 empty] | 94.18 |  |  | 94.97 |  |  |  | 0.06 |  | 0.06 | [8 empty] | 4.99 |  |  |  |  | 0.01
2012 |  |  |  | 10424.21 |  |  | 8098 |  |  |  | 1310 | [10 empty] | 91.83 |  |  |  | 91.83 | [5 empty] | 90.59 |  |  | 92.19 |  |  |  | 0.01 |  | 1.03 | [8 empty] | 7.15 |  |  |  |  | 0.00
2013 |  |  |  | 10218.79 |  |  | 7906 |  |  |  | 1310 | [10 empty] | 90.05 |  |  |  | 90.05 | [5 empty] | 89.05 |  |  | 90.25 |  |  |  | 4.22 |  | 3.97 | [8 empty] | 5.98 |  |  |  |  | 0.00
2014 |  |  |  | 10535.82 |  |  | 8159 |  |  |  | 1310 | [10 empty] | 92.88 |  |  |  | 92.88 | [5 empty] | 91.81 |  |  | 93.14 |  |  |  | 0.04 |  | 0.58 | [8 empty] | 6.54 |  |  |  |  | 0.00
2015 |  |  |  | 10532.84 |  |  | 8158 |  |  |  | 1310 | [10 empty] | 92.42 |  |  |  | 92.90 | [5 empty] | 91.78 |  |  | 93.13 |  |  |  | 0.15 |  | 0.14 | [8 empty] | 6.95 |  |  |  |  | 0.49
2016 |  |  |  | 10684.13 |  |  | 8318 |  |  |  | 1310 | [10 empty] | 93.52 |  |  |  | 94.26 | [5 empty] | 92.85 |  |  | 94.69 |  |  |  | 0.17 |  | 0.16 | [8 empty] | 5.58 |  |  |  |  | 0.74
2017 |  |  |  | 9880.27 |  |  | 7791 |  |  |  | 1310 | [10 empty] | 86.97 |  |  |  | 88.60 | [5 empty] | 86.10 |  |  | 88.94 |  |  |  | 0.19 |  | 0.17 | [8 empty] | 11.24 |  |  |  |  | 1.63
2018 |  |  |  | 9099.36 |  |  | 7121 |  |  |  | 1310 | [10 empty] | 80.54 |  |  |  | 81.00 | [5 empty] | 79.29 |  |  | 81.29 |  |  |  | 14.01 |  | 13.19 | [8 empty] | 5.81 |  |  |  |  | 0.46
2019 |  |  |  | 9758.34 |  |  | 7700 |  |  |  | 1310 | [10 empty] | 87.40 |  |  |  | 88.00 | [5 empty] | 85.04 |  |  | 87.90 |  |  |  | 0.08 |  | 4.18 | [8 empty] | 7.82 |  |  |  |  | 0.60
2020 |  |  |  | 10415.99 |  |  | 8141 |  |  |  | 1310 | [10 empty] | 92.33 |  |  |  | 92.61 | [5 empty] | 90.52 |  |  | 92.68 |  |  |  | 0.06 |  | 0.05 | [8 empty] | 7.33 |  |  |  |  | 0.28
2021 |  |  |  | 10459.26 |  |  | 8082 |  |  |  | 1310 | [10 empty] | 91.75 |  |  |  | 92.31 | [5 empty] | 91.14 |  |  | 92.26 |  |  |  | 0.03 |  | 0.03 | [8 empty] | 7.67 |  |  |  |  | 0.56
2022 |  |  |  | 10435.38 |  |  | 8272 |  |  |  | 1310 | [10 empty] | 91.55 |  |  |  | 94.42 | [5 empty] | 90.94 |  |  | 94.43 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 5.58 |  |  |  |  | 2.86
2023 |  |  |  | 1785.06 |  |  | 2083 |  |  |  | 1310 | [10 empty] | 51.96 |  |  |  | 79.79 | [5 empty] | 52.12 |  |  | 79.77 |  |  |  | 0.03 |  | 0.03 | [8 empty] | 20.19 |  |  |  |  | 27.83
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[23 empty] | 2023 | [14 empty] | 1989 to 2023
Outage Cause | [22 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[23 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [39 empty] | 23
C. |  | Inspection, maintenance or repair combined with refuelling | [35 empty] | 505
D. |  | Inspection, maintenance or repair without refuelling | [20 empty] | 436 | [14 empty] | 27
H. |  | Nuclear regulatory requirements | [24 empty] | 2 | [14 empty] | 0
L. |  | Human factor related | [39 empty] | 13
O. |  | Load dispatching, prioritization | [51 empty] | 0
S. |  | Fuel management limitation (including high flux tilt, stretch out or coast-down operation) | [39 empty] | 10
Subtotal | [22 empty] | 436 |  |  |  | 2 | [10 empty] | 532 |  |  |  | 46 | [11 empty] | 0
Total | [22 empty] | 438 | [14 empty] | 578
Equipment Related Unplanned Full Outages, Analysis by System
System | [22 empty] | 2023 | [14 empty] | 1989 to 2023
[23 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [34 empty] | 17
12. |  |  | Reactor I&C Systems | [34 empty] | 3
21. |  |  | Fuel Handling and Storage Facilities | [34 empty] | 10
32. |  |  | Feedwater and Main Steam System | [34 empty] | 0
41. |  |  | Main Generator Systems | [34 empty] | 2
Total | [37 empty] | 32