## BOHUNICE-3
2023 Operating Experience
SK-13 | [8 empty] | BOHUNICE-3 | [26 empty] | SLOVAKIA
Status at end of year | [7 empty] | : | Operational
Operator | [7 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Owner | [7 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Reactor Supplier | [7 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Turbine Supplier | [7 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Reactor Unit Details | [27 empty] | Key Dates
Reactor type and model | [12 empty] | : |  |  | PWR / VVER V-213 | [11 empty] | Construction Date | [15 empty] | : |  |  | 1976-12-01
Thermal power | [12 empty] | : |  |  | 1471 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 1984-08-20
Gross electrical power | [12 empty] | : |  |  | 500 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | : |  |  | 1985-02-14
Reference unit power (net) | [12 empty] | : |  |  | 466 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 39 years
Design Characteristics
| Primary Systems | [28 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 12.3
| Reactor vessel centreline orientation | [13 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 297
| Fuel material | [13 empty] | : |  |  | UO2 | [11 empty] | Number of SG | [15 empty] | : |  |  | 6
| Refuelling type | [13 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | Confinement
| Moderator material | [13 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | : |  |  | 0.245
| Average fuel enrichment [% of U235] | [13 empty] | : |  |  | 4.25 | [11 empty] | Secondary systems
| Refuelling frequency [month] | [13 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 2
| Part of the core refuelled [%] | [13 empty] | : |  |  | 23 | [11 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 3000
| Average discharge burnup [MWd/t] | [13 empty] | : |  |  | 55000 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | 2
| Active core diameter [m] | [13 empty] | : |  |  | 2.88 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 4.32
| Active core height/length [m] | [13 empty] | : |  |  | 2.5 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | 15.75
| Number of fissile fuel assemblies/bundles | [13 empty] | : |  |  | 349 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | Cooling Towers
| Fuel linear heat generation rate [kW/m] | [13 empty] | : |  |  | 13.49 | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | 6
| Number of control rod assemblies | [13 empty] | : |  |  | 37 | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | 4
| Number of external reactor coolant loops | [13 empty] | : |  |  | 6 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | 3
| Coolant type | [13 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | DH / PH
Annual Production Results (2023)
Net Energy Production | [18 empty] | : | 3685.7 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 0.1 %
Energy Availability Factor (EAF) | [18 empty] | : | 90.55 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 0.09 %
Unit Capability Factor (UCF) | [18 empty] | : | 93.37 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 6.54 %
Load Factor (LF) | [18 empty] | : | 90.29 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 2.83 %
Operating Factor (OF) | [18 empty] | : | 93.57 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 563 hours
Equivalent non-electrical energy generated (NEG) | [18 empty] | : | 46.78 GW(e).h
Annual Summary
[5 empty] | Jan | Feb |  |  |  | Mar |  | Apr | [8 empty] | May |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  | Sep |  |  | Oct |  |  | Nov | [9 empty] | Dec |  |  | Annual
GW(e)-h |  |  |  |  | 338.71 | 308.38 |  |  |  | 339.48 |  | 328.86 | [8 empty] | 334.02 |  |  | 155.24 | [6 empty] | 231.86 |  | 328.02 |  |  |  | 319.55 |  |  | 333.82 |  |  | 327.45 | [9 empty] | 340.31 |  |  | 3685.70
EAF [%] |  |  |  |  | 97.49 | 98.33 |  |  |  | 98.00 |  | 98.17 | [8 empty] | 97.08 |  |  | 46.88 | [6 empty] | 67.77 |  | 95.03 |  |  |  | 95.56 |  |  | 96.57 |  |  | 97.62 | [9 empty] | 98.04 |  |  | 90.55
UCF [%] |  |  |  |  | 99.99 | 99.94 |  |  |  | 100.00 |  | 100.00 | [8 empty] | 100.00 |  |  | 49.36 | [6 empty] | 71.06 |  | 100.00 |  |  |  | 100.00 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 93.37
LF [%] |  |  |  |  | 97.69 | 98.48 |  |  |  | 97.92 |  | 98.01 | [8 empty] | 96.34 |  |  | 46.27 | [6 empty] | 66.88 |  | 94.61 |  |  |  | 95.24 |  |  | 96.28 |  |  | 97.60 | [9 empty] | 98.15 |  |  | 90.29
OF [%] |  |  |  |  | 100.00 | 100.00 |  |  |  | 100.00 |  | 100.00 | [8 empty] | 100.00 |  |  | 50.42 | [6 empty] | 72.31 |  | 100.00 |  |  |  | 100.00 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 93.57
FLR [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.00 |  |  | 2.17 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.10
UCL [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.00 |  |  | 1.10 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.09
PUF [%] |  |  |  |  | 0.01 | 0.06 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.00 |  |  | 49.55 | [6 empty] | 28.94 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 6.54
XUF [%] |  |  |  |  | 2.50 | 1.61 |  |  |  | 2.00 |  | 1.83 | [8 empty] | 2.92 |  |  | 2.48 | [6 empty] | 3.30 |  | 4.97 |  |  |  | 4.44 |  |  | 3.43 |  |  | 2.38 | [9 empty] | 1.96 |  |  | 2.83
Historical Summary
Lifetime energy generation | [13 empty] | : |  |  | 120150.69 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 1.11 %
Cumulative Energy Availability Factor (EAF) | [13 empty] | : |  |  | 82.15 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 1.1 %
Cumulative Unit Capability Factor (UCF) | [13 empty] | : |  |  | 85.36 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 13.55 %
Cumulative Load Factor (LF) | [13 empty] | : |  |  | 80.75 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 3.21 %
Cumulative Operating Factor (OF) | [13 empty] | : |  |  | 86.2 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
1985 |  |  |  | 2721.56 |  |  | 7057 |  |  |  | 408 | [10 empty] | 76.82 |  |  |  | 76.82 | [5 empty] | 74.45 |  |  | 78.87 |  |  |  | 1.66 |  | 1.30 | [8 empty] | 21.89 |  |  |  |  | 0.00
1986 |  |  |  | 2674.14 |  |  | 7089 |  |  |  | 408 | [10 empty] | 75.40 |  |  |  | 75.43 | [5 empty] | 74.82 |  |  | 80.92 |  |  |  | 7.77 |  | 6.35 | [8 empty] | 18.22 |  |  |  |  | 0.03
1987 |  |  |  | 1997.38 |  |  | 5181 |  |  |  | 408 | [10 empty] | 53.70 |  |  |  | 55.54 | [5 empty] | 55.89 |  |  | 59.14 |  |  |  | 2.29 |  | 1.30 | [8 empty] | 43.16 |  |  |  |  | 1.83
1988 |  |  |  | 2866.88 |  |  | 7329 |  |  |  | 408 | [10 empty] | 79.89 |  |  |  | 80.24 | [5 empty] | 79.99 |  |  | 83.44 |  |  |  | 0.42 |  | 0.34 | [8 empty] | 19.43 |  |  |  |  | 0.35
1989 |  |  |  | 2992.32 |  |  | 7633 |  |  |  | 408 | [10 empty] | 84.14 |  |  |  | 85.01 | [5 empty] | 83.72 |  |  | 87.13 |  |  |  | 0.57 |  | 0.49 | [8 empty] | 14.50 |  |  |  |  | 0.88
1990 |  |  |  | 2829.10 |  |  | 7376 |  |  |  | 408 | [10 empty] | 79.25 |  |  |  | 80.49 | [5 empty] | 79.16 |  |  | 84.20 |  |  |  | 5.39 |  | 4.59 | [8 empty] | 14.93 |  |  |  |  | 1.24
1991 |  |  |  | 2585.64 |  |  | 6717 |  |  |  | 408 | [10 empty] | 71.95 |  |  |  | 74.16 | [5 empty] | 72.34 |  |  | 76.68 |  |  |  | 1.36 |  | 1.03 | [8 empty] | 24.81 |  |  |  |  | 2.21
1992 |  |  |  | 3140.69 |  |  | 7528 |  |  |  | 408 | [10 empty] | 82.77 |  |  |  | 83.89 | [5 empty] | 87.63 |  |  | 85.70 |  |  |  | 0.75 |  | 0.63 | [8 empty] | 15.48 |  |  |  |  | 1.12
1993 |  |  |  | 2973.14 |  |  | 7721 |  |  |  | 408 | [10 empty] | 83.19 |  |  |  | 86.52 | [5 empty] | 83.19 |  |  | 88.14 |  |  |  | 1.24 |  | 1.09 | [8 empty] | 12.39 |  |  |  |  | 3.34
1994 |  |  |  | 2806.83 |  |  | 7423 |  |  |  | 405 | [10 empty] | 79.05 |  |  |  | 84.03 | [5 empty] | 79.11 |  |  | 84.74 |  |  |  | 0.73 |  | 0.62 | [8 empty] | 15.36 |  |  |  |  | 4.97
1995 |  |  |  | 2536.71 |  |  | 6440 |  |  |  | 408 | [10 empty] | 70.14 |  |  |  | 78.13 | [5 empty] | 70.98 |  |  | 73.52 |  |  |  | 1.74 |  | 1.39 | [8 empty] | 20.48 |  |  |  |  | 8.00
1996 |  |  |  | 3045.91 |  |  | 7504 |  |  |  | 436 | [10 empty] | 82.50 |  |  |  | 85.56 | [5 empty] | 79.53 |  |  | 85.43 |  |  |  | 1.45 |  | 1.26 | [8 empty] | 13.18 |  |  |  |  | 3.06
1997 |  |  |  | 3096.42 |  |  | 7711 |  |  |  | 440 | [10 empty] | 84.04 |  |  |  | 87.73 | [5 empty] | 80.33 |  |  | 88.03 |  |  |  | 0.49 |  | 0.43 | [8 empty] | 11.84 |  |  |  |  | 3.69
1998 |  |  |  | 2804.63 |  |  | 7571 |  |  |  | 408 | [10 empty] | 81.80 |  |  |  | 85.32 | [5 empty] | 78.47 |  |  | 86.43 |  |  |  | 2.30 |  | 2.00 | [8 empty] | 12.68 |  |  |  |  | 3.52
1999 |  |  |  | 2468.54 |  |  | 6620 |  |  |  | 408 | [10 empty] | 69.65 |  |  |  | 76.46 | [5 empty] | 69.07 |  |  | 75.57 |  |  |  | 3.81 |  | 3.03 | [8 empty] | 20.51 |  |  |  |  | 6.81
2000 |  |  |  | 2806.72 |  |  | 7776 |  |  |  | 408 | [10 empty] | 79.82 |  |  |  | 87.92 | [5 empty] | 78.32 |  |  | 88.52 |  |  |  | 1.07 |  | 0.95 | [8 empty] | 11.13 |  |  |  |  | 8.10
2001 |  |  |  | 2686.99 |  |  | 7680 |  |  |  | 408 | [10 empty] | 76.48 |  |  |  | 86.60 | [5 empty] | 75.18 |  |  | 87.67 |  |  |  | 1.03 |  | 0.90 | [8 empty] | 12.50 |  |  |  |  | 10.12
2002 |  |  |  | 2690.74 |  |  | 7711 |  |  |  | 408 | [10 empty] | 83.86 |  |  |  | 87.38 | [5 empty] | 75.28 |  |  | 88.03 |  |  |  | 0.22 |  | 0.19 | [8 empty] | 12.43 |  |  |  |  | 3.52
2003 |  |  |  | 2484.97 |  |  | 6908 |  |  |  | 408 | [10 empty] | 75.46 |  |  |  | 78.28 | [5 empty] | 69.53 |  |  | 78.86 |  |  |  | 0.16 |  | 0.13 | [8 empty] | 21.59 |  |  |  |  | 2.82
2004 |  |  |  | 2564.55 |  |  | 7228 |  |  |  | 408 | [10 empty] | 79.03 |  |  |  | 81.97 | [5 empty] | 71.56 |  |  | 82.29 |  |  |  | 0.39 |  | 0.32 | [8 empty] | 17.72 |  |  |  |  | 2.93
2005 |  |  |  | 2587.73 |  |  | 7034 |  |  |  | 408 | [10 empty] | 76.69 |  |  |  | 79.44 | [5 empty] | 72.40 |  |  | 80.30 |  |  |  | 0.91 |  | 0.73 | [8 empty] | 19.83 |  |  |  |  | 2.74
2006 |  |  |  | 2582.58 |  |  | 7106 |  |  |  | 408 | [10 empty] | 78.36 |  |  |  | 80.73 | [5 empty] | 72.26 |  |  | 81.12 |  |  |  | 0.29 |  | 0.24 | [8 empty] | 19.03 |  |  |  |  | 2.37
2007 |  |  |  | 2432.56 |  |  | 6687 |  |  |  | 408 | [10 empty] | 71.57 |  |  |  | 73.84 | [5 empty] | 68.06 |  |  | 76.34 |  |  |  | 7.18 |  | 5.71 | [8 empty] | 20.45 |  |  |  |  | 2.27
2008 |  |  |  | 3038.40 |  |  | 7680 |  |  |  | 429 | [10 empty] | 85.82 |  |  |  | 86.69 | [5 empty] | 83.70 |  |  | 87.43 |  |  |  | 0.56 |  | 0.49 | [8 empty] | 12.82 |  |  |  |  | 0.87
2009 |  |  |  | 3309.67 |  |  | 8176 |  |  |  | 442 | [10 empty] | 87.18 |  |  |  | 89.33 | [5 empty] | 87.40 |  |  | 93.33 |  |  |  | 0.12 |  | 0.10 | [8 empty] | 10.56 |  |  |  |  | 2.15
2010 |  |  |  | 3385.92 |  |  | 8194 |  |  |  | 472 | [10 empty] | 84.80 |  |  |  | 87.97 | [5 empty] | 85.98 |  |  | 93.54 |  |  |  | 0.26 |  | 0.23 | [8 empty] | 11.80 |  |  |  |  | 3.17
2011 |  |  |  | 3586.04 |  |  | 7890 |  |  |  | 472 | [10 empty] | 87.25 |  |  |  | 89.94 | [5 empty] | 86.73 |  |  | 90.07 |  |  |  | 0.04 |  | 0.04 | [8 empty] | 10.03 |  |  |  |  | 2.69
2012 |  |  |  | 3761.71 |  |  | 8295 |  |  |  | 472 | [10 empty] | 91.28 |  |  |  | 94.17 | [5 empty] | 90.73 |  |  | 94.43 |  |  |  | 0.02 |  | 0.02 | [8 empty] | 5.81 |  |  |  |  | 2.90
2013 |  |  |  | 3726.97 |  |  | 8245 |  |  |  | 472 | [10 empty] | 90.67 |  |  |  | 93.71 | [5 empty] | 90.14 |  |  | 94.12 |  |  |  | 0.38 |  | 0.36 | [8 empty] | 5.93 |  |  |  |  | 3.04
2014 |  |  |  | 3730.20 |  |  | 8235 |  |  |  | 471 | [10 empty] | 90.60 |  |  |  | 93.90 | [5 empty] | 90.41 |  |  | 94.01 |  |  |  | 0.01 |  | 0.58 | [8 empty] | 5.53 |  |  |  |  | 3.30
2015 |  |  |  | 3388.98 |  |  | 7635 |  |  |  | 471 | [10 empty] | 83.58 |  |  |  | 86.81 | [5 empty] | 82.14 |  |  | 87.16 |  |  |  | 0.40 |  | 0.73 | [8 empty] | 12.46 |  |  |  |  | 3.23
2016 |  |  |  | 3425.51 |  |  | 7738 |  |  |  | 471 | [10 empty] | 84.12 |  |  |  | 87.53 | [5 empty] | 82.80 |  |  | 88.09 |  |  |  | 0.45 |  | 2.46 | [8 empty] | 10.00 |  |  |  |  | 3.42
2017 |  |  |  | 3615.51 |  |  | 8231 |  |  |  | 471 | [10 empty] | 89.61 |  |  |  | 93.73 | [5 empty] | 87.63 |  |  | 93.96 |  |  |  | 0.05 |  | 0.89 | [8 empty] | 5.38 |  |  |  |  | 4.12
2018 |  |  |  | 3609.99 |  |  | 8288 |  |  |  | 471 | [10 empty] | 89.51 |  |  |  | 94.39 | [5 empty] | 87.49 |  |  | 94.61 |  |  |  | 0.00 |  | 0.12 | [8 empty] | 5.49 |  |  |  |  | 4.88
2019 |  |  |  | 3625.03 |  |  | 8135 |  |  |  | 471 | [10 empty] | 88.72 |  |  |  | 92.26 | [5 empty] | 87.86 |  |  | 92.87 |  |  |  | 0.33 |  | 0.59 | [8 empty] | 7.14 |  |  |  |  | 3.55
2020 |  |  |  | 3683.59 |  |  | 8236 |  |  |  | 466 | [10 empty] | 89.64 |  |  |  | 92.78 | [5 empty] | 89.11 |  |  | 93.76 |  |  |  | 0.09 |  | 0.08 | [8 empty] | 7.14 |  |  |  |  | 3.14
2021 |  |  |  | 3699.61 |  |  | 8307 |  |  |  | 466 | [10 empty] | 90.90 |  |  |  | 93.67 | [5 empty] | 90.63 |  |  | 94.83 |  |  |  | 0.32 |  | 0.54 | [8 empty] | 5.79 |  |  |  |  | 2.76
2022 |  |  |  | 3637.81 |  |  | 8248 |  |  |  | 466 | [10 empty] | 89.43 |  |  |  | 92.26 | [5 empty] | 89.11 |  |  | 94.16 |  |  |  | 1.11 |  | 1.53 | [8 empty] | 6.20 |  |  |  |  | 2.83
2023 |  |  |  | 3685.70 |  |  | 8197 |  |  |  | 466 | [10 empty] | 90.55 |  |  |  | 93.37 | [5 empty] | 90.29 |  |  | 93.57 |  |  |  | 0.10 |  | 0.09 | [8 empty] | 6.54 |  |  |  |  | 2.83
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[23 empty] | 2023 | [14 empty] | 1985 to 2023
Outage Cause | [22 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[23 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [39 empty] | 75
C. |  | Inspection, maintenance or repair combined with refuelling | [20 empty] | 563 | [14 empty] | 1040
D. |  | Inspection, maintenance or repair without refuelling | [35 empty] | 85
J. |  | Grid limitation, failure or grid unavailability | [51 empty] | 5
K. |  | Load-following (frequency control, reserve shutdown due to reduced energy demand, reactive power) | [51 empty] | 1
L. |  | Human factor related | [39 empty] | 0
N. |  | Environmental conditions (lack of cooling water due to dry weather, cooling water temperature limits, flood, storm, lightning, etc.) | [51 empty] | 1
Z. |  | Other | [39 empty] | 1
Subtotal | [22 empty] | 563 | [14 empty] | 1125 |  |  |  | 76 | [11 empty] | 7
Total | [22 empty] | 563 | [14 empty] | 1208
Equipment Related Unplanned Full Outages, Analysis by System
System | [22 empty] | 2023 | [14 empty] | 1985 to 2023
[23 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [34 empty] | 7
12. |  |  | Reactor I&C Systems | [34 empty] | 4
13. |  |  | Reactor Auxiliary Systems | [34 empty] | 3
14. |  |  | Safety Systems | [34 empty] | 1
15. |  |  | Reactor Cooling Systems | [34 empty] | 11
16. |  |  | Steam generation systems | [34 empty] | 23
17. |  |  | Safety I&C Systems (excluding reactor I&C) | [34 empty] | 1
31. |  |  | Turbine and auxiliaries | [34 empty] | 0
32. |  |  | Feedwater and Main Steam System | [34 empty] | 7
33. |  |  | Circulating Water System | [34 empty] | 1
35. |  |  | All other I&C Systems | [34 empty] | 0
41. |  |  | Main Generator Systems | [34 empty] | 1
42. |  |  | Electrical Power Supply Systems | [34 empty] | 17
Total | [37 empty] | 76
Highlights (2023)
31.01.2023, 07.02.-08.02.2023 ancillary services testing and certification (aFRR-, mFRR-). Operation without any planned or unplanned power decreasing. Steam extraction for district heating exchanger. 11.06. - 14.06.2023 coast-down operation. 14.06.-16.06.2023 reactor power decreasing to 82 % due to water level increasing in moisture separator/reheater (SPP) TG31. 16.06. - 11.07.2023 annual maintenance and refuelling, start-up operation, scheduled measuring and testing. From 14.07.2023 steam extraction for district heating exchanger.

## BOHUNICE-4
2023 Operating Experience
SK-14 | [8 empty] | BOHUNICE-4 | [26 empty] | SLOVAKIA
Status at end of year | [7 empty] | : | Operational
Operator | [7 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Owner | [7 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Reactor Supplier | [7 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Turbine Supplier | [7 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Reactor Unit Details | [27 empty] | Key Dates
Reactor type and model | [12 empty] | : |  |  | PWR / VVER V-213 | [11 empty] | Construction Date | [15 empty] | : |  |  | 1976-12-01
Thermal power | [12 empty] | : |  |  | 1471 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 1985-08-09
Gross electrical power | [12 empty] | : |  |  | 500 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | : |  |  | 1985-12-18
Reference unit power (net) | [12 empty] | : |  |  | 466 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 38 years
Design Characteristics
| Primary Systems | [28 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 12.3
| Reactor vessel centreline orientation | [13 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 297
| Fuel material | [13 empty] | : |  |  | UO2 | [11 empty] | Number of SG | [15 empty] | : |  |  | 6
| Refuelling type | [13 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | Confinement
| Moderator material | [13 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | : |  |  | 0.245
| Average fuel enrichment [% of U235] | [13 empty] | : |  |  | 4.25 | [11 empty] | Secondary systems
| Refuelling frequency [month] | [13 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 2
| Part of the core refuelled [%] | [13 empty] | : |  |  | 22 | [11 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 3000
| Average discharge burnup [MWd/t] | [13 empty] | : |  |  | 54000 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | 2
| Active core diameter [m] | [13 empty] | : |  |  | 2.88 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 4.32
| Active core height/length [m] | [13 empty] | : |  |  | 2.5 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | 15.75
| Number of fissile fuel assemblies/bundles | [13 empty] | : |  |  | 349 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | Cooling Towers
| Fuel linear heat generation rate [kW/m] | [13 empty] | : |  |  | 13.49 | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | 6
| Number of control rod assemblies | [13 empty] | : |  |  | 37 | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | 4
| Number of external reactor coolant loops | [13 empty] | : |  |  | 6 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | 3
| Coolant type | [13 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | DH / PH
Annual Production Results (2023)
Net Energy Production | [18 empty] | : | 3761.34 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 0 %
Energy Availability Factor (EAF) | [18 empty] | : | 91.75 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 0.13 %
Unit Capability Factor (UCF) | [18 empty] | : | 93.99 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 5.87 %
Load Factor (LF) | [18 empty] | : | 92.14 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 2.25 %
Operating Factor (OF) | [18 empty] | : | 94.11 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 516 hours
Equivalent non-electrical energy generated (NEG) | [18 empty] | : | 49.76 GW(e).h
Annual Summary
[5 empty] | Jan | Feb |  |  |  | Mar |  | Apr | [8 empty] | May |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  | Sep |  |  | Oct |  |  | Nov | [9 empty] | Dec |  |  | Annual
GW(e)-h |  |  |  |  | 344.48 | 307.23 |  |  |  | 341.16 |  | 328.85 | [8 empty] | 97.17 |  |  | 326.84 | [6 empty] | 333.95 |  | 334.55 |  |  |  | 326.35 |  |  | 343.02 |  |  | 333.54 | [9 empty] | 344.19 |  |  | 3761.34
EAF [%] |  |  |  |  | 98.37 | 97.04 |  |  |  | 97.98 |  | 97.66 | [8 empty] | 28.74 |  |  | 97.66 | [6 empty] | 96.48 |  | 96.67 |  |  |  | 97.40 |  |  | 98.42 |  |  | 98.37 | [9 empty] | 97.45 |  |  | 91.75
UCF [%] |  |  |  |  | 100.00 | 100.00 |  |  |  | 100.00 |  | 100.00 | [8 empty] | 29.29 |  |  | 100.00 | [6 empty] | 100.00 |  | 100.00 |  |  |  | 100.00 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 93.99
LF [%] |  |  |  |  | 99.36 | 98.11 |  |  |  | 98.40 |  | 98.01 | [8 empty] | 28.03 |  |  | 97.41 | [6 empty] | 96.32 |  | 96.49 |  |  |  | 97.27 |  |  | 98.94 |  |  | 99.41 | [9 empty] | 99.27 |  |  | 92.14
OF [%] |  |  |  |  | 100.00 | 100.00 |  |  |  | 100.00 |  | 100.00 | [8 empty] | 30.65 |  |  | 100.00 | [6 empty] | 100.00 |  | 100.00 |  |  |  | 100.00 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 94.11
FLR [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.00 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.00
UCL [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 1.58 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.13
PUF [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 69.14 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 5.87
XUF [%] |  |  |  |  | 1.63 | 2.96 |  |  |  | 2.02 |  | 2.34 | [8 empty] | 0.54 |  |  | 2.34 | [6 empty] | 3.52 |  | 3.33 |  |  |  | 2.60 |  |  | 1.58 |  |  | 1.63 | [9 empty] | 2.55 |  |  | 2.25
Historical Summary
Lifetime energy generation | [13 empty] | : |  |  | 119266.46 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 1.12 %
Cumulative Energy Availability Factor (EAF) | [13 empty] | : |  |  | 83.15 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 1.25 %
Cumulative Unit Capability Factor (UCF) | [13 empty] | : |  |  | 86.15 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 12.6 %
Cumulative Load Factor (LF) | [13 empty] | : |  |  | 81.92 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 3.01 %
Cumulative Operating Factor (OF) | [13 empty] | : |  |  | 86.98 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
1985 |  |  |  | 1083.50 |  |  | 3177 |  |  |  | 408 | [10 empty] | 0.00 |  |  |  | 0.00 | [5 empty] | 0.00 |  |  | 0.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.00 |  |  |  |  | 0.00
1986 |  |  |  | 2887.85 |  |  | 7294 |  |  |  | 408 | [10 empty] | 80.98 |  |  |  | 80.98 | [5 empty] | 80.80 |  |  | 83.26 |  |  |  | 3.11 |  | 2.60 | [8 empty] | 16.42 |  |  |  |  | 0.00
1987 |  |  |  | 3084.68 |  |  | 7783 |  |  |  | 408 | [10 empty] | 86.11 |  |  |  | 86.60 | [5 empty] | 86.31 |  |  | 88.85 |  |  |  | 0.89 |  | 0.78 | [8 empty] | 12.63 |  |  |  |  | 0.49
1988 |  |  |  | 2786.46 |  |  | 7248 |  |  |  | 408 | [10 empty] | 77.76 |  |  |  | 78.01 | [5 empty] | 77.75 |  |  | 82.51 |  |  |  | 1.22 |  | 0.96 | [8 empty] | 21.02 |  |  |  |  | 0.25
1989 |  |  |  | 2827.66 |  |  | 7548 |  |  |  | 408 | [10 empty] | 79.20 |  |  |  | 79.98 | [5 empty] | 79.12 |  |  | 86.16 |  |  |  | 5.84 |  | 4.96 | [8 empty] | 15.06 |  |  |  |  | 0.78
1990 |  |  |  | 2873.81 |  |  | 7427 |  |  |  | 408 | [10 empty] | 80.71 |  |  |  | 81.99 | [5 empty] | 80.41 |  |  | 84.78 |  |  |  | 1.42 |  | 1.18 | [8 empty] | 16.83 |  |  |  |  | 1.29
1991 |  |  |  | 2850.52 |  |  | 7438 |  |  |  | 408 | [10 empty] | 80.36 |  |  |  | 82.88 | [5 empty] | 79.76 |  |  | 84.91 |  |  |  | 0.54 |  | 0.45 | [8 empty] | 16.66 |  |  |  |  | 2.52
1992 |  |  |  | 2711.90 |  |  | 6714 |  |  |  | 408 | [10 empty] | 70.43 |  |  |  | 73.33 | [5 empty] | 75.67 |  |  | 76.43 |  |  |  | 2.61 |  | 1.96 | [8 empty] | 24.71 |  |  |  |  | 2.89
1993 |  |  |  | 2847.62 |  |  | 7341 |  |  |  | 408 | [10 empty] | 79.68 |  |  |  | 82.63 | [5 empty] | 79.67 |  |  | 83.80 |  |  |  | 5.40 |  | 4.72 | [8 empty] | 12.65 |  |  |  |  | 2.95
1994 |  |  |  | 2791.41 |  |  | 7389 |  |  |  | 405 | [10 empty] | 78.68 |  |  |  | 83.87 | [5 empty] | 78.68 |  |  | 84.35 |  |  |  | 0.30 |  | 0.25 | [8 empty] | 15.88 |  |  |  |  | 5.19
1995 |  |  |  | 2823.67 |  |  | 7211 |  |  |  | 408 | [10 empty] | 79.29 |  |  |  | 88.47 | [5 empty] | 79.00 |  |  | 82.32 |  |  |  | 0.96 |  | 0.86 | [8 empty] | 10.67 |  |  |  |  | 9.18
1996 |  |  |  | 2834.89 |  |  | 6953 |  |  |  | 436 | [10 empty] | 76.13 |  |  |  | 79.21 | [5 empty] | 74.02 |  |  | 79.16 |  |  |  | 0.18 |  | 0.14 | [8 empty] | 20.65 |  |  |  |  | 3.08
1997 |  |  |  | 2953.49 |  |  | 7469 |  |  |  | 440 | [10 empty] | 80.22 |  |  |  | 84.66 | [5 empty] | 76.63 |  |  | 85.26 |  |  |  | 2.41 |  | 2.09 | [8 empty] | 13.25 |  |  |  |  | 4.43
1998 |  |  |  | 2822.41 |  |  | 7525 |  |  |  | 408 | [10 empty] | 82.45 |  |  |  | 85.68 | [5 empty] | 78.97 |  |  | 85.90 |  |  |  | 1.62 |  | 1.41 | [8 empty] | 12.92 |  |  |  |  | 3.23
1999 |  |  |  | 2656.54 |  |  | 7283 |  |  |  | 408 | [10 empty] | 75.13 |  |  |  | 81.68 | [5 empty] | 74.33 |  |  | 83.14 |  |  |  | 2.00 |  | 1.66 | [8 empty] | 16.66 |  |  |  |  | 6.54
2000 |  |  |  | 2431.85 |  |  | 6791 |  |  |  | 408 | [10 empty] | 68.88 |  |  |  | 76.32 | [5 empty] | 67.86 |  |  | 77.31 |  |  |  | 1.40 |  | 1.08 | [8 empty] | 22.60 |  |  |  |  | 7.44
2001 |  |  |  | 2793.27 |  |  | 7721 |  |  |  | 408 | [10 empty] | 79.25 |  |  |  | 86.73 | [5 empty] | 78.15 |  |  | 88.14 |  |  |  | 1.29 |  | 1.13 | [8 empty] | 12.14 |  |  |  |  | 7.48
2002 |  |  |  | 2823.23 |  |  | 7742 |  |  |  | 408 | [10 empty] | 84.99 |  |  |  | 87.88 | [5 empty] | 78.99 |  |  | 88.38 |  |  |  | 0.36 |  | 0.32 | [8 empty] | 11.81 |  |  |  |  | 2.89
2003 |  |  |  | 2814.89 |  |  | 7737 |  |  |  | 408 | [10 empty] | 84.35 |  |  |  | 87.76 | [5 empty] | 78.76 |  |  | 88.32 |  |  |  | 0.42 |  | 0.37 | [8 empty] | 11.87 |  |  |  |  | 3.41
2004 |  |  |  | 2390.94 |  |  | 6786 |  |  |  | 408 | [10 empty] | 74.44 |  |  |  | 76.95 | [5 empty] | 66.71 |  |  | 77.25 |  |  |  | 0.24 |  | 0.18 | [8 empty] | 22.86 |  |  |  |  | 2.51
2005 |  |  |  | 2840.98 |  |  | 7671 |  |  |  | 408 | [10 empty] | 84.31 |  |  |  | 87.29 | [5 empty] | 79.49 |  |  | 87.57 |  |  |  | 0.06 |  | 0.05 | [8 empty] | 12.66 |  |  |  |  | 2.98
2006 |  |  |  | 2489.28 |  |  | 7035 |  |  |  | 408 | [10 empty] | 77.03 |  |  |  | 79.27 | [5 empty] | 69.65 |  |  | 80.31 |  |  |  | 1.06 |  | 0.85 | [8 empty] | 19.89 |  |  |  |  | 2.24
2007 |  |  |  | 2648.45 |  |  | 7053 |  |  |  | 408 | [10 empty] | 77.97 |  |  |  | 79.87 | [5 empty] | 74.10 |  |  | 80.51 |  |  |  | 2.90 |  | 2.39 | [8 empty] | 17.74 |  |  |  |  | 1.90
2008 |  |  |  | 2739.03 |  |  | 7254 |  |  |  | 410 | [10 empty] | 78.82 |  |  |  | 79.65 | [5 empty] | 76.27 |  |  | 82.58 |  |  |  | 2.90 |  | 2.38 | [8 empty] | 17.98 |  |  |  |  | 0.83
2009 |  |  |  | 3239.57 |  |  | 8118 |  |  |  | 448 | [10 empty] | 86.87 |  |  |  | 88.92 | [5 empty] | 87.05 |  |  | 92.67 |  |  |  | 0.67 |  | 0.60 | [8 empty] | 10.48 |  |  |  |  | 2.06
2010 |  |  |  | 3513.14 |  |  | 8214 |  |  |  | 472 | [10 empty] | 87.73 |  |  |  | 90.33 | [5 empty] | 87.55 |  |  | 93.77 |  |  |  | 0.05 |  | 0.05 | [8 empty] | 9.62 |  |  |  |  | 2.60
2011 |  |  |  | 3732.88 |  |  | 8225 |  |  |  | 472 | [10 empty] | 90.80 |  |  |  | 93.43 | [5 empty] | 90.28 |  |  | 93.89 |  |  |  | 0.27 |  | 0.25 | [8 empty] | 6.32 |  |  |  |  | 2.62
2012 |  |  |  | 3640.36 |  |  | 7952 |  |  |  | 472 | [10 empty] | 87.88 |  |  |  | 90.12 | [5 empty] | 87.80 |  |  | 90.53 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 9.88 |  |  |  |  | 2.23
2013 |  |  |  | 3788.68 |  |  | 8313 |  |  |  | 471 | [10 empty] | 91.81 |  |  |  | 94.54 | [5 empty] | 91.83 |  |  | 94.90 |  |  |  | 0.07 |  | 0.07 | [8 empty] | 5.40 |  |  |  |  | 2.72
2014 |  |  |  | 3767.52 |  |  | 8314 |  |  |  | 471 | [10 empty] | 91.44 |  |  |  | 94.56 | [5 empty] | 91.31 |  |  | 94.91 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 5.44 |  |  |  |  | 3.12
2015 |  |  |  | 3697.16 |  |  | 8285 |  |  |  | 471 | [10 empty] | 91.11 |  |  |  | 94.40 | [5 empty] | 89.61 |  |  | 94.58 |  |  |  | 0.05 |  | 0.54 | [8 empty] | 5.06 |  |  |  |  | 3.28
2016 |  |  |  | 3293.87 |  |  | 7371 |  |  |  | 471 | [10 empty] | 80.22 |  |  |  | 83.23 | [5 empty] | 79.61 |  |  | 83.91 |  |  |  | 0.63 |  | 4.05 | [8 empty] | 12.72 |  |  |  |  | 3.01
2017 |  |  |  | 3648.54 |  |  | 8115 |  |  |  | 471 | [10 empty] | 88.85 |  |  |  | 92.33 | [5 empty] | 88.43 |  |  | 92.64 |  |  |  | 0.12 |  | 2.03 | [8 empty] | 5.64 |  |  |  |  | 3.49
2018 |  |  |  | 3367.93 |  |  | 7553 |  |  |  | 471 | [10 empty] | 82.13 |  |  |  | 85.75 | [5 empty] | 81.63 |  |  | 86.22 |  |  |  | 3.42 |  | 3.57 | [8 empty] | 10.68 |  |  |  |  | 3.62
2019 |  |  |  | 3711.18 |  |  | 8157 |  |  |  | 471 | [10 empty] | 90.02 |  |  |  | 92.85 | [5 empty] | 89.95 |  |  | 93.12 |  |  |  | 0.01 |  | 1.28 | [8 empty] | 5.87 |  |  |  |  | 2.82
2020 |  |  |  | 3730.79 |  |  | 8163 |  |  |  | 466 | [10 empty] | 90.19 |  |  |  | 92.71 | [5 empty] | 90.26 |  |  | 92.93 |  |  |  | 0.00 |  | 0.23 | [8 empty] | 7.06 |  |  |  |  | 2.52
2021 |  |  |  | 3760.12 |  |  | 8227 |  |  |  | 466 | [10 empty] | 91.51 |  |  |  | 93.37 | [5 empty] | 92.11 |  |  | 93.92 |  |  |  | 0.14 |  | 0.13 | [8 empty] | 6.50 |  |  |  |  | 1.87
2022 |  |  |  | 3638.00 |  |  | 8061 |  |  |  | 466 | [10 empty] | 88.79 |  |  |  | 90.84 | [5 empty] | 89.12 |  |  | 92.02 |  |  |  | 0.95 |  | 2.06 | [8 empty] | 7.11 |  |  |  |  | 2.04
2023 |  |  |  | 3761.34 |  |  | 8244 |  |  |  | 466 | [10 empty] | 91.75 |  |  |  | 93.99 | [5 empty] | 92.14 |  |  | 94.11 |  |  |  | 0.00 |  | 0.13 | [8 empty] | 5.87 |  |  |  |  | 2.25
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[23 empty] | 2023 | [14 empty] | 1985 to 2023
Outage Cause | [22 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[23 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [24 empty] | 12 | [14 empty] | 53
C. |  | Inspection, maintenance or repair combined with refuelling | [20 empty] | 504 | [14 empty] | 1003
D. |  | Inspection, maintenance or repair without refuelling | [35 empty] | 43
E. |  | Testing of plant systems or components | [35 empty] | 1 |  |  |  | 0
F. |  | Major backfitting, refurbishment or upgrading activities with refuelling | [35 empty] | 14
J. |  | Grid limitation, failure or grid unavailability | [51 empty] | 0
L. |  | Human factor related | [39 empty] | 8
Subtotal | [22 empty] | 504 |  |  |  | 12 | [10 empty] | 1061 |  |  |  | 61 | [11 empty] | 0
Total | [22 empty] | 516 | [14 empty] | 1122
Equipment Related Unplanned Full Outages, Analysis by System
System | [22 empty] | 2023 | [14 empty] | 1985 to 2023
[23 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [34 empty] | 15
12. |  |  | Reactor I&C Systems | [34 empty] | 4
15. |  |  | Reactor Cooling Systems | [19 empty] | 12 | [14 empty] | 6
16. |  |  | Steam generation systems | [34 empty] | 26
17. |  |  | Safety I&C Systems (excluding reactor I&C) | [34 empty] | 3
32. |  |  | Feedwater and Main Steam System | [34 empty] | 5
33. |  |  | Circulating Water System | [34 empty] | 0
34. |  |  | Miscellaneous Systems | [34 empty] | 1
35. |  |  | All other I&C Systems | [34 empty] | 0
42. |  |  | Electrical Power Supply Systems | [34 empty] | 1
Total | [22 empty] | 12 | [14 empty] | 61
Highlights (2023)
01.-05. 2023, operation without any planned or unplanned power decreasing. Steam extraction for district heating exchanger. 05.05. - 29.05.2023 planned unit shutdown, annual maintenance and refuelling, outage unplanned extension, unit start-up, scheduled measuring and testing. From 15.10.2023 steam extraction for district heating exchanger.

## MOCHOVCE-1
2023 Operating Experience
SK-6 | [8 empty] | MOCHOVCE-1 | [26 empty] | SLOVAKIA
Status at end of year | [7 empty] | : | Operational
Operator | [7 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Owner | [7 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Reactor Supplier | [7 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Turbine Supplier | [7 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Reactor Unit Details | [27 empty] | Key Dates
Reactor type and model | [12 empty] | : |  |  | PWR / VVER V-213 | [11 empty] | Construction Date | [15 empty] | : |  |  | 1983-10-13
Thermal power | [12 empty] | : |  |  | 1471 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 1998-07-04
Gross electrical power | [12 empty] | : |  |  | 500 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | : |  |  | 1998-10-29
Reference unit power (net) | [12 empty] | : |  |  | 467 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 25 years
Design Characteristics
| Primary Systems | [28 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 12.0
| Reactor vessel centreline orientation | [13 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 295
| Fuel material | [13 empty] | : |  |  | UO2 | [11 empty] | Number of SG | [15 empty] | : |  |  | 6
| Refuelling type | [13 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | Confinement
| Moderator material | [13 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | : |  |  | 0.245
| Average fuel enrichment [% of U235] | [13 empty] | : |  |  | 4.415 | [11 empty] | Secondary systems
| Refuelling frequency [month] | [13 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 2
| Part of the core refuelled [%] | [13 empty] | : |  |  | 22 | [11 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 3000
| Average discharge burnup [MWd/t] | [13 empty] | : |  |  | 54000 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | 2
| Active core diameter [m] | [13 empty] | : |  |  | 2.88 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 4.3
| Active core height/length [m] | [13 empty] | : |  |  | 2.5 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | 15.75
| Number of fissile fuel assemblies/bundles | [13 empty] | : |  |  | 349 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | Cooling Towers
| Fuel linear heat generation rate [kW/m] | [13 empty] | : |  |  | 13.49 | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | 6
| Number of control rod assemblies | [13 empty] | : |  |  | 37 | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | 4
| Number of external reactor coolant loops | [13 empty] | : |  |  | 6 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | 3
| Coolant type | [13 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | none
Annual Production Results (2023)
Net Energy Production | [18 empty] | : | 3764.66 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 0.07 %
Energy Availability Factor (EAF) | [18 empty] | : | 92.04 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 0.76 %
Unit Capability Factor (UCF) | [18 empty] | : | 93.87 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 5.37 %
Load Factor (LF) | [18 empty] | : | 92.02 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 1.83 %
Operating Factor (OF) | [18 empty] | : | 94.25 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 504 hours
Annual Summary
[5 empty] | Jan | Feb |  |  |  | Mar |  | Apr | [8 empty] | May |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  | Sep |  |  | Oct |  |  | Nov | [9 empty] | Dec |  |  | Annual
GW(e)-h |  |  |  |  | 346.22 | 312.67 |  |  |  | 333.83 |  | 77.72 | [8 empty] | 333.24 |  |  | 323.08 | [6 empty] | 332.96 |  | 335.19 |  |  |  | 330.35 |  |  | 346.51 |  |  | 339.83 | [9 empty] | 353.06 |  |  | 3764.66
EAF [%] |  |  |  |  | 99.42 | 99.37 |  |  |  | 96.26 |  | 24.74 | [8 empty] | 96.16 |  |  | 96.45 | [6 empty] | 96.32 |  | 96.85 |  |  |  | 98.52 |  |  | 99.52 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 92.04
UCF [%] |  |  |  |  | 99.72 | 99.75 |  |  |  | 99.43 |  | 27.23 | [8 empty] | 99.31 |  |  | 100.00 | [6 empty] | 100.00 |  | 100.00 |  |  |  | 100.00 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 93.87
LF [%] |  |  |  |  | 99.65 | 99.63 |  |  |  | 96.08 |  | 23.12 | [8 empty] | 95.91 |  |  | 96.09 | [6 empty] | 95.83 |  | 96.47 |  |  |  | 98.25 |  |  | 99.73 |  |  | 101.07 | [9 empty] | 101.61 |  |  | 92.02
OF [%] |  |  |  |  | 100.00 | 100.00 |  |  |  | 100.00 |  | 30.00 | [8 empty] | 100.00 |  |  | 100.00 | [6 empty] | 100.00 |  | 100.00 |  |  |  | 100.00 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 94.25
FLR [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 1.11 | [8 empty] | 0.47 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.07
UCL [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 8.76 | [8 empty] | 0.47 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.76
PUF [%] |  |  |  |  | 0.28 | 0.25 |  |  |  | 0.57 |  | 64.01 | [8 empty] | 0.22 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 0.00 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 5.37
XUF [%] |  |  |  |  | 0.30 | 0.37 |  |  |  | 3.17 |  | 2.49 | [8 empty] | 3.15 |  |  | 3.55 | [6 empty] | 3.68 |  | 3.15 |  |  |  | 1.48 |  |  | 0.48 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 1.83
Historical Summary
Lifetime energy generation | [13 empty] | : |  |  | 81898.91 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 0.85 %
Cumulative Energy Availability Factor (EAF) | [13 empty] | : |  |  | 87.3 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 0.93 %
Cumulative Unit Capability Factor (UCF) | [13 empty] | : |  |  | 88.91 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 10.16 %
Cumulative Load Factor (LF) | [13 empty] | : |  |  | 86.58 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 1.6 %
Cumulative Operating Factor (OF) | [13 empty] | : |  |  | 89.9 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
1998 |  |  |  | 936.28 |  |  | 3343 |  |  |  | 408 | [10 empty] | 94.96 |  |  |  | 96.83 | [5 empty] | 93.54 |  |  | 98.98 |  |  |  | 3.17 |  | 3.17 | [8 empty] | 0.00 |  |  |  |  | 1.87
1999 |  |  |  | 2376.14 |  |  | 6397 |  |  |  | 404 | [10 empty] | 65.82 |  |  |  | 70.37 | [5 empty] | 67.14 |  |  | 73.03 |  |  |  | 3.19 |  | 2.32 | [8 empty] | 27.30 |  |  |  |  | 4.55
2000 |  |  |  | 2816.90 |  |  | 8311 |  |  |  | 404 | [10 empty] | 79.38 |  |  |  | 89.96 | [5 empty] | 79.38 |  |  | 94.62 |  |  |  | 2.46 |  | 2.27 | [8 empty] | 7.77 |  |  |  |  | 10.58
2001 |  |  |  | 2423.59 |  |  | 6648 |  |  |  | 404 | [10 empty] | 68.15 |  |  |  | 74.98 | [5 empty] | 68.48 |  |  | 75.89 |  |  |  | 2.49 |  | 1.92 | [8 empty] | 23.10 |  |  |  |  | 6.83
2002 |  |  |  | 2914.76 |  |  | 7628 |  |  |  | 405 | [10 empty] | 83.31 |  |  |  | 86.32 | [5 empty] | 82.16 |  |  | 87.08 |  |  |  | 0.24 |  | 0.21 | [8 empty] | 13.47 |  |  |  |  | 3.02
2003 |  |  |  | 2796.62 |  |  | 7324 |  |  |  | 405 | [10 empty] | 82.28 |  |  |  | 82.97 | [5 empty] | 78.83 |  |  | 83.61 |  |  |  | 5.91 |  | 5.21 | [8 empty] | 11.82 |  |  |  |  | 0.69
2004 |  |  |  | 2995.97 |  |  | 7801 |  |  |  | 405 | [10 empty] | 88.10 |  |  |  | 88.58 | [5 empty] | 84.22 |  |  | 88.81 |  |  |  | 0.15 |  | 0.13 | [8 empty] | 11.28 |  |  |  |  | 0.48
2005 |  |  |  | 2712.57 |  |  | 7128 |  |  |  | 405 | [10 empty] | 80.33 |  |  |  | 80.76 | [5 empty] | 76.46 |  |  | 81.37 |  |  |  | 0.10 |  | 0.08 | [8 empty] | 19.16 |  |  |  |  | 0.43
2006 |  |  |  | 3059.75 |  |  | 7977 |  |  |  | 405 | [10 empty] | 90.01 |  |  |  | 90.72 | [5 empty] | 86.23 |  |  | 91.05 |  |  |  | 0.43 |  | 0.39 | [8 empty] | 8.88 |  |  |  |  | 0.71
2007 |  |  |  | 3142.72 |  |  | 7954 |  |  |  | 405 | [10 empty] | 89.21 |  |  |  | 90.03 | [5 empty] | 88.58 |  |  | 90.80 |  |  |  | 0.28 |  | 1.79 | [8 empty] | 8.18 |  |  |  |  | 0.82
2008 |  |  |  | 3329.40 |  |  | 8064 |  |  |  | 436 | [10 empty] | 90.62 |  |  |  | 91.05 | [5 empty] | 89.58 |  |  | 91.80 |  |  |  | 0.21 |  | 0.76 | [8 empty] | 8.19 |  |  |  |  | 0.43
2009 |  |  |  | 3111.64 |  |  | 7466 |  |  |  | 436 | [10 empty] | 82.05 |  |  |  | 82.37 | [5 empty] | 81.47 |  |  | 85.23 |  |  |  | 1.27 |  | 1.06 | [8 empty] | 16.57 |  |  |  |  | 0.32
2010 |  |  |  | 3446.79 |  |  | 8074 |  |  |  | 436 | [10 empty] | 91.02 |  |  |  | 91.51 | [5 empty] | 90.25 |  |  | 92.17 |  |  |  | 1.92 |  | 1.79 | [8 empty] | 6.70 |  |  |  |  | 0.49
2011 |  |  |  | 3542.88 |  |  | 8235 |  |  |  | 436 | [10 empty] | 92.92 |  |  |  | 93.27 | [5 empty] | 92.76 |  |  | 94.01 |  |  |  | 0.05 |  | 0.04 | [8 empty] | 6.69 |  |  |  |  | 0.35
2012 |  |  |  | 3532.61 |  |  | 8188 |  |  |  | 436 | [10 empty] | 92.14 |  |  |  | 92.63 | [5 empty] | 92.24 |  |  | 93.21 |  |  |  | 0.81 |  | 0.82 | [8 empty] | 6.55 |  |  |  |  | 0.49
2013 |  |  |  | 3526.15 |  |  | 8195 |  |  |  | 436 | [10 empty] | 92.29 |  |  |  | 93.33 | [5 empty] | 92.32 |  |  | 93.55 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 6.67 |  |  |  |  | 1.04
2014 |  |  |  | 3530.12 |  |  | 8259 |  |  |  | 436 | [10 empty] | 92.38 |  |  |  | 92.55 | [5 empty] | 92.43 |  |  | 94.28 |  |  |  | 0.13 |  | 0.55 | [8 empty] | 6.90 |  |  |  |  | 0.18
2015 |  |  |  | 3436.31 |  |  | 8067 |  |  |  | 436 | [10 empty] | 90.98 |  |  |  | 91.59 | [5 empty] | 89.97 |  |  | 92.09 |  |  |  | 0.76 |  | 0.71 | [8 empty] | 7.71 |  |  |  |  | 0.61
2016 |  |  |  | 3478.22 |  |  | 8185 |  |  |  | 436 | [10 empty] | 91.64 |  |  |  | 92.67 | [5 empty] | 90.82 |  |  | 93.18 |  |  |  | 0.42 |  | 0.73 | [8 empty] | 6.60 |  |  |  |  | 1.03
2017 |  |  |  | 3208.45 |  |  | 7542 |  |  |  | 436 | [10 empty] | 84.20 |  |  |  | 84.97 | [5 empty] | 84.00 |  |  | 86.10 |  |  |  | 1.05 |  | 1.07 | [8 empty] | 13.96 |  |  |  |  | 0.77
2018 |  |  |  | 3539.85 |  |  | 8299 |  |  |  | 436 | [10 empty] | 93.39 |  |  |  | 94.37 | [5 empty] | 92.68 |  |  | 94.74 |  |  |  | 0.27 |  | 0.25 | [8 empty] | 5.38 |  |  |  |  | 0.98
2019 |  |  |  | 3547.11 |  |  | 8225 |  |  |  | 436 | [10 empty] | 92.50 |  |  |  | 93.44 | [5 empty] | 92.87 |  |  | 93.89 |  |  |  | 0.09 |  | 0.09 | [8 empty] | 6.47 |  |  |  |  | 0.94
2020 |  |  |  | 3610.01 |  |  | 8322 |  |  |  | 436 | [10 empty] | 93.82 |  |  |  | 94.52 | [5 empty] | 94.27 |  |  | 94.75 |  |  |  | 0.02 |  | 0.07 | [8 empty] | 5.42 |  |  |  |  | 0.69
2021 |  |  |  | 3438.55 |  |  | 8083 |  |  |  | 467 | [10 empty] | 86.07 |  |  |  | 87.05 | [5 empty] | 86.91 |  |  | 92.27 |  |  |  | 0.06 |  | 0.37 | [8 empty] | 12.57 |  |  |  |  | 0.99
2022 |  |  |  | 3753.95 |  |  | 8253 |  |  |  | 467 | [10 empty] | 91.89 |  |  |  | 93.65 | [5 empty] | 91.76 |  |  | 94.21 |  |  |  | 0.11 |  | 0.10 | [8 empty] | 6.25 |  |  |  |  | 1.76
2023 |  |  |  | 3764.66 |  |  | 8256 |  |  |  | 467 | [10 empty] | 92.04 |  |  |  | 93.87 | [5 empty] | 92.02 |  |  | 94.25 |  |  |  | 0.07 |  | 0.76 | [8 empty] | 5.37 |  |  |  |  | 1.83
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[23 empty] | 2023 | [14 empty] | 1998 to 2023
Outage Cause | [22 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[23 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [24 empty] | 61 | [14 empty] | 46
C. |  | Inspection, maintenance or repair combined with refuelling | [20 empty] | 444 | [14 empty] | 797
D. |  | Inspection, maintenance or repair without refuelling | [35 empty] | 28
J. |  | Grid limitation, failure or grid unavailability | [51 empty] | 2
K. |  | Load-following (frequency control, reserve shutdown due to reduced energy demand, reactive power) | [51 empty] | 1
L. |  | Human factor related | [39 empty] | 7
Z. |  | Other | [39 empty] | 3
Subtotal | [22 empty] | 444 |  |  |  | 61 | [10 empty] | 825 |  |  |  | 56 | [11 empty] | 3
Total | [22 empty] | 505 | [14 empty] | 884
Equipment Related Unplanned Full Outages, Analysis by System
System | [22 empty] | 2023 | [14 empty] | 1998 to 2023
[23 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [34 empty] | 15
12. |  |  | Reactor I&C Systems | [34 empty] | 5
14. |  |  | Safety Systems | [19 empty] | 61 | [14 empty] | 9
15. |  |  | Reactor Cooling Systems | [34 empty] | 1
16. |  |  | Steam generation systems | [34 empty] | 1
17. |  |  | Safety I&C Systems (excluding reactor I&C) | [34 empty] | 2
21. |  |  | Fuel Handling and Storage Facilities | [34 empty] | 1
31. |  |  | Turbine and auxiliaries | [34 empty] | 1
32. |  |  | Feedwater and Main Steam System | [34 empty] | 2
35. |  |  | All other I&C Systems | [34 empty] | 0
41. |  |  | Main Generator Systems | [34 empty] | 1
42. |  |  | Electrical Power Supply Systems | [34 empty] | 14
Total | [22 empty] | 61 | [14 empty] | 52
Highlights (2023)
MOCHOVCE 1 unit was operated at full power in base load mode in 2023. Throughout the year there were no reactor scram and no unplanned full outage. The total unplanned losses of 31.1 GWh were largely due to the extended general overhaul of the unit. During the start-up after the general overhaul TG12 was shut down unscheduled due to overheating of current connections on TG exciter. Another manual shutdown of TG12 occurred in May. Planned production losses of 219.8 GWh included general overhaul with fuel replacement in April, execution of planned tests and losses due to cooling tower refurbishment between January and March. Other factors affecting energy generation were limitations due to environmental conditions and site heating. During the year the unit provided supporting services for grid adjustment.

## MOCHOVCE-2
2023 Operating Experience
SK-7 | [8 empty] | MOCHOVCE-2 | [26 empty] | SLOVAKIA
Status at end of year | [7 empty] | : | Operational
Operator | [7 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Owner | [7 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Reactor Supplier | [7 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Turbine Supplier | [7 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Reactor Unit Details | [27 empty] | Key Dates
Reactor type and model | [12 empty] | : |  |  | PWR / VVER V-213 | [11 empty] | Construction Date | [15 empty] | : |  |  | 1983-10-13
Thermal power | [12 empty] | : |  |  | 1471 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 1999-12-20
Gross electrical power | [12 empty] | : |  |  | 500 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | : |  |  | 2000-04-11
Reference unit power (net) | [12 empty] | : |  |  | 469 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 24 years
Design Characteristics
| Primary Systems | [28 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 12.0
| Reactor vessel centreline orientation | [13 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 295
| Fuel material | [13 empty] | : |  |  | UO2 | [11 empty] | Number of SG | [15 empty] | : |  |  | 6
| Refuelling type | [13 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | Confinement
| Moderator material | [13 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | : |  |  | 0.245
| Average fuel enrichment [% of U235] | [13 empty] | : |  |  | 4.415 | [11 empty] | Secondary systems
| Refuelling frequency [month] | [13 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 2
| Part of the core refuelled [%] | [13 empty] | : |  |  | 22 | [11 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 3000
| Average discharge burnup [MWd/t] | [13 empty] | : |  |  | 54000 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | 2
| Active core diameter [m] | [13 empty] | : |  |  | 2.88 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 4.3
| Active core height/length [m] | [13 empty] | : |  |  | 2.5 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | 15.75
| Number of fissile fuel assemblies/bundles | [13 empty] | : |  |  | 349 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | Cooling Towers
| Fuel linear heat generation rate [kW/m] | [13 empty] | : |  |  | 13.49 | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | 6
| Number of control rod assemblies | [13 empty] | : |  |  | 37 | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | 4
| Number of external reactor coolant loops | [13 empty] | : |  |  | 6 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | 3
| Coolant type | [13 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | none
Annual Production Results (2023)
Net Energy Production | [18 empty] | : | 3848.01 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 0.09 %
Energy Availability Factor (EAF) | [18 empty] | : | 93.46 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 0.23 %
Unit Capability Factor (UCF) | [18 empty] | : | 94.63 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 5.13 %
Load Factor (LF) | [18 empty] | : | 93.66 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 1.18 %
Operating Factor (OF) | [18 empty] | : | 95.06 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 433 hours
Annual Summary
[5 empty] | Jan | Feb |  |  |  | Mar |  | Apr | [8 empty] | May |  |  | Jun | [6 empty] | Jul |  | Aug |  |  |  | Sep |  |  | Oct |  |  | Nov | [9 empty] | Dec |  |  | Annual
GW(e)-h |  |  |  |  | 350.71 | 317.57 |  |  |  | 348.22 |  | 339.39 | [8 empty] | 343.57 |  |  | 329.93 | [6 empty] | 336.63 |  | 334.79 |  |  |  | 110.43 |  |  | 345.97 |  |  | 339.98 | [9 empty] | 350.82 |  |  | 3848.01
EAF [%] |  |  |  |  | 99.93 | 99.85 |  |  |  | 99.48 |  | 99.95 | [8 empty] | 98.43 |  |  | 97.72 | [6 empty] | 96.59 |  | 96.16 |  |  |  | 33.92 |  |  | 98.94 |  |  | 99.87 | [9 empty] | 99.91 |  |  | 93.46
UCF [%] |  |  |  |  | 99.93 | 99.87 |  |  |  | 99.67 |  | 100.00 | [8 empty] | 99.66 |  |  | 100.00 | [6 empty] | 99.79 |  | 100.00 |  |  |  | 35.90 |  |  | 100.00 |  |  | 99.90 | [9 empty] | 100.00 |  |  | 94.63
LF [%] |  |  |  |  | 100.51 | 100.76 |  |  |  | 99.80 |  | 100.51 | [8 empty] | 98.46 |  |  | 97.71 | [6 empty] | 96.47 |  | 95.95 |  |  |  | 32.70 |  |  | 99.15 |  |  | 100.68 | [9 empty] | 100.54 |  |  | 93.66
OF [%] |  |  |  |  | 100.00 | 100.00 |  |  |  | 100.00 |  | 100.00 | [8 empty] | 100.00 |  |  | 100.00 | [6 empty] | 100.00 |  | 100.00 |  |  |  | 39.86 |  |  | 100.00 |  |  | 100.00 | [9 empty] | 100.00 |  |  | 95.06
FLR [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.34 |  |  | 0.00 | [6 empty] | 0.21 |  | 0.00 |  |  |  | 1.22 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.09
UCL [%] |  |  |  |  | 0.00 | 0.00 |  |  |  | 0.00 |  | 0.00 | [8 empty] | 0.34 |  |  | 0.00 | [6 empty] | 0.21 |  | 0.00 |  |  |  | 2.27 |  |  | 0.00 |  |  | 0.00 | [9 empty] | 0.00 |  |  | 0.23
PUF [%] |  |  |  |  | 0.07 | 0.13 |  |  |  | 0.33 |  | 0.00 | [8 empty] | 0.00 |  |  | 0.00 | [6 empty] | 0.00 |  | 0.00 |  |  |  | 61.83 |  |  | 0.00 |  |  | 0.10 | [9 empty] | 0.00 |  |  | 5.13
XUF [%] |  |  |  |  | 0.00 | 0.03 |  |  |  | 0.19 |  | 0.04 | [8 empty] | 1.24 |  |  | 2.28 | [6 empty] | 3.20 |  | 3.84 |  |  |  | 1.99 |  |  | 1.06 |  |  | 0.03 | [9 empty] | 0.09 |  |  | 1.18
Historical Summary
Lifetime energy generation | [13 empty] | : |  |  | 77341.42 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 0.7 %
Cumulative Energy Availability Factor (EAF) | [13 empty] | : |  |  | 87.79 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 1.09 %
Cumulative Unit Capability Factor (UCF) | [13 empty] | : |  |  | 89.13 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 9.78 %
Cumulative Load Factor (LF) | [13 empty] | : |  |  | 86.14 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 1.34 %
Cumulative Operating Factor (OF) | [13 empty] | : |  |  | 89.86 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  |  |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  |  |  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
2000 |  |  |  | 2641.42 |  |  | 7513 |  |  |  | 404 | [10 empty] | 87.87 |  |  |  | 91.55 | [5 empty] | 83.34 |  |  | 89.56 |  |  |  | 1.67 |  | 1.56 | [8 empty] | 6.89 |  |  |  |  | 3.68
2001 |  |  |  | 2540.88 |  |  | 6967 |  |  |  | 404 | [10 empty] | 72.10 |  |  |  | 78.17 | [5 empty] | 71.80 |  |  | 79.53 |  |  |  | 6.46 |  | 5.40 | [8 empty] | 16.43 |  |  |  |  | 6.07
2002 |  |  |  | 2498.36 |  |  | 6862 |  |  |  | 405 | [10 empty] | 71.67 |  |  |  | 76.02 | [5 empty] | 70.42 |  |  | 78.33 |  |  |  | 2.28 |  | 1.78 | [8 empty] | 22.20 |  |  |  |  | 4.36
2003 |  |  |  | 2964.87 |  |  | 7729 |  |  |  | 405 | [10 empty] | 87.37 |  |  |  | 87.81 | [5 empty] | 83.57 |  |  | 88.23 |  |  |  | 0.52 |  | 0.46 | [8 empty] | 11.73 |  |  |  |  | 0.43
2004 |  |  |  | 2034.50 |  |  | 7210 |  |  |  | 405 | [10 empty] | 81.41 |  |  |  | 81.61 | [5 empty] | 57.19 |  |  | 82.08 |  |  |  | 0.43 |  | 1.11 | [8 empty] | 17.28 |  |  |  |  | 0.20
2005 |  |  |  | 3050.88 |  |  | 7900 |  |  |  | 405 | [10 empty] | 88.52 |  |  |  | 89.45 | [5 empty] | 85.99 |  |  | 90.18 |  |  |  | 0.51 |  | 0.45 | [8 empty] | 10.09 |  |  |  |  | 0.93
2006 |  |  |  | 2787.17 |  |  | 7254 |  |  |  | 405 | [10 empty] | 81.05 |  |  |  | 82.07 | [5 empty] | 78.56 |  |  | 82.81 |  |  |  | 0.59 |  | 0.60 | [8 empty] | 17.33 |  |  |  |  | 1.02
2007 |  |  |  | 3191.35 |  |  | 8082 |  |  |  | 405 | [10 empty] | 90.85 |  |  |  | 91.26 | [5 empty] | 89.95 |  |  | 92.26 |  |  |  | 1.11 |  | 1.39 | [8 empty] | 7.36 |  |  |  |  | 0.41
2008 |  |  |  | 3070.50 |  |  | 7797 |  |  |  | 436 | [10 empty] | 87.85 |  |  |  | 88.31 | [5 empty] | 85.22 |  |  | 88.76 |  |  |  | 0.31 |  | 0.28 | [8 empty] | 11.41 |  |  |  |  | 0.46
2009 |  |  |  | 3414.88 |  |  | 8128 |  |  |  | 436 | [10 empty] | 90.86 |  |  |  | 91.54 | [5 empty] | 89.41 |  |  | 92.79 |  |  |  | 0.50 |  | 0.56 | [8 empty] | 7.90 |  |  |  |  | 0.68
2010 |  |  |  | 3189.95 |  |  | 7574 |  |  |  | 436 | [10 empty] | 84.38 |  |  |  | 85.22 | [5 empty] | 83.52 |  |  | 86.46 |  |  |  | 0.83 |  | 0.72 | [8 empty] | 14.07 |  |  |  |  | 0.84
2011 |  |  |  | 3480.32 |  |  | 8195 |  |  |  | 436 | [10 empty] | 91.55 |  |  |  | 92.49 | [5 empty] | 91.12 |  |  | 93.55 |  |  |  | 0.33 |  | 0.31 | [8 empty] | 7.21 |  |  |  |  | 0.93
2012 |  |  |  | 3476.42 |  |  | 8121 |  |  |  | 436 | [10 empty] | 90.40 |  |  |  | 91.96 | [5 empty] | 90.77 |  |  | 92.45 |  |  |  | 0.35 |  | 1.10 | [8 empty] | 6.94 |  |  |  |  | 1.56
2013 |  |  |  | 3581.83 |  |  | 8274 |  |  |  | 436 | [10 empty] | 93.27 |  |  |  | 94.22 | [5 empty] | 93.78 |  |  | 94.45 |  |  |  | 0.11 |  | 0.10 | [8 empty] | 5.68 |  |  |  |  | 0.95
2014 |  |  |  | 3392.49 |  |  | 7842 |  |  |  | 436 | [10 empty] | 88.41 |  |  |  | 89.18 | [5 empty] | 88.82 |  |  | 89.52 |  |  |  | 0.16 |  | 1.86 | [8 empty] | 8.96 |  |  |  |  | 0.76
2015 |  |  |  | 3561.23 |  |  | 8296 |  |  |  | 436 | [10 empty] | 93.39 |  |  |  | 94.40 | [5 empty] | 93.24 |  |  | 94.70 |  |  |  | 0.01 |  | 0.10 | [8 empty] | 5.50 |  |  |  |  | 1.02
2016 |  |  |  | 3535.75 |  |  | 8268 |  |  |  | 436 | [10 empty] | 92.59 |  |  |  | 93.67 | [5 empty] | 92.32 |  |  | 94.13 |  |  |  | 0.50 |  | 1.15 | [8 empty] | 5.18 |  |  |  |  | 1.08
2017 |  |  |  | 3543.32 |  |  | 8280 |  |  |  | 436 | [10 empty] | 93.20 |  |  |  | 94.16 | [5 empty] | 92.77 |  |  | 94.52 |  |  |  | 0.15 |  | 0.41 | [8 empty] | 5.43 |  |  |  |  | 0.95
2018 |  |  |  | 3271.12 |  |  | 7642 |  |  |  | 436 | [10 empty] | 85.31 |  |  |  | 86.66 | [5 empty] | 85.65 |  |  | 87.24 |  |  |  | 0.38 |  | 0.48 | [8 empty] | 12.86 |  |  |  |  | 1.35
2019 |  |  |  | 3398.93 |  |  | 7922 |  |  |  | 436 | [10 empty] | 88.65 |  |  |  | 89.77 | [5 empty] | 88.99 |  |  | 90.43 |  |  |  | 0.18 |  | 3.26 | [8 empty] | 6.97 |  |  |  |  | 1.12
2020 |  |  |  | 3332.80 |  |  | 8112 |  |  |  | 469 | [10 empty] | 85.26 |  |  |  | 85.77 | [5 empty] | 86.47 |  |  | 92.35 |  |  |  | 0.11 |  | 0.79 | [8 empty] | 13.44 |  |  |  |  | 0.50
2021 |  |  |  | 3747.56 |  |  | 8155 |  |  |  | 469 | [10 empty] | 91.05 |  |  |  | 92.35 | [5 empty] | 91.22 |  |  | 93.09 |  |  |  | 0.73 |  | 2.44 | [8 empty] | 5.20 |  |  |  |  | 1.30
2022 |  |  |  | 3800.50 |  |  | 8249 |  |  |  | 469 | [10 empty] | 92.41 |  |  |  | 93.74 | [5 empty] | 92.50 |  |  | 94.17 |  |  |  | 0.03 |  | 0.03 | [8 empty] | 6.23 |  |  |  |  | 1.33
2023 |  |  |  | 3848.01 |  |  | 8327 |  |  |  | 469 | [10 empty] | 93.46 |  |  |  | 94.63 | [5 empty] | 93.66 |  |  | 95.06 |  |  |  | 0.09 |  | 0.23 | [8 empty] | 5.13 |  |  |  |  | 1.18
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[23 empty] | 2023 | [14 empty] | 2000 to 2023
Outage Cause | [22 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[23 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
A. |  | Plant equipment problem/failure | [39 empty] | 62
C. |  | Inspection, maintenance or repair combined with refuelling | [20 empty] | 420 | [14 empty] | 746
D. |  | Inspection, maintenance or repair without refuelling | [35 empty] | 67
L. |  | Human factor related | [39 empty] | 4
Z. |  | Other | [24 empty] | 13 | [14 empty] | 1
Subtotal | [22 empty] | 420 |  |  |  | 13 | [10 empty] | 813 |  |  |  | 67
Total | [22 empty] | 433 | [14 empty] | 880
Equipment Related Unplanned Full Outages, Analysis by System
System | [22 empty] | 2023 | [14 empty] | 2000 to 2023
[23 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
11. |  |  | Reactor and Accessories | [34 empty] | 3
12. |  |  | Reactor I&C Systems | [34 empty] | 9
13. |  |  | Reactor Auxiliary Systems | [34 empty] | 3
14. |  |  | Safety Systems | [34 empty] | 6
15. |  |  | Reactor Cooling Systems | [34 empty] | 25
16. |  |  | Steam generation systems | [34 empty] | 8
21. |  |  | Fuel Handling and Storage Facilities | [34 empty] | 1
31. |  |  | Turbine and auxiliaries | [34 empty] | 1
33. |  |  | Circulating Water System | [34 empty] | 1
41. |  |  | Main Generator Systems | [34 empty] | 3
42. |  |  | Electrical Power Supply Systems | [34 empty] | 3
Total | [37 empty] | 63
Highlights (2023)
MOCHOVCE 2 unit was operated at full power in base load mode in 2023. Throughout the year there were no reactor scram and no unplanned full outage. Annual value of the unplanned energy loses of 9.6 GWh was mainly due to the extension of the general overhaul with refueling. Planned energy loses of 210.9 GWh included the general overhaul with refueling in September, supporting services recertifications and losses due to cooling tower refurbishment between January and March. Other factors affecting energy generation were limitations due to environmental conditions and site heating. During the year the unit provided supporting services for grid adjustment.

## MOCHOVCE-3
2023 Operating Experience
SK-10 | [6 empty] | MOCHOVCE-3 | [26 empty] | SLOVAKIA
Status at end of year | [5 empty] | : | Operational
Operator | [5 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Owner | [5 empty] | : | SE (SLOVENSKÉ ELEKTRÁRNE, A.S.)
Reactor Supplier | [5 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Turbine Supplier | [5 empty] | : | ŠKODA (ŠKODA CONCERN NUCLEAR POWER PLANT WORKS)
Reactor Unit Details | [25 empty] | Key Dates
Reactor type and model | [10 empty] | : |  |  | PWR / VVER V-213 | [11 empty] | Construction Date | [15 empty] | : |  |  | 1987-01-27
Thermal power | [10 empty] | : |  |  | 1375 | [8 empty] | MWth |  |  | Grid Date | [15 empty] | : |  |  | 2023-01-31
Gross electrical power | [10 empty] | : |  |  | 471 | [8 empty] | MWe |  |  | Commercial Date | [15 empty] | :
Reference unit power (net) | [10 empty] | : |  |  | 440 | [8 empty] | MWe |  |  | Age at end of year | [15 empty] | : |  |  | 0 years
Design Characteristics
| Primary Systems | [26 empty] | Operating coolant pressure [MPa] | [15 empty] | : |  |  | 12.23
| Reactor vessel centreline orientation | [11 empty] | : |  |  | Vertical | [11 empty] | Reactor outlet temperature [°C] | [15 empty] | : |  |  | 267.8
| Fuel material | [11 empty] | : |  |  | UO2 | [11 empty] | Number of SG | [15 empty] | : |  |  | 6
| Refuelling type | [11 empty] | : |  |  | OFF-line | [11 empty] | Containment type | [15 empty] | : |  |  | -
| Moderator material | [11 empty] | : |  |  | H2O | [11 empty] | Containment design pressure [MPa] | [15 empty] | : |  |  | -
| Average fuel enrichment [% of U235] | [11 empty] | : |  |  | - | [11 empty] | Secondary systems
| Refuelling frequency [month] | [11 empty] | : |  |  | 12 | [11 empty] | Number of turbine-generators per unit/reactor | [15 empty] | : |  |  | 2
| Part of the core refuelled [%] | [11 empty] | : |  |  | - | [11 empty] | Turbine speed [rpm] | [15 empty] | : |  |  | 3000
| Average discharge burnup [MWd/t] | [11 empty] | : |  |  | 31000 | [11 empty] | Number of LP cylinders per turbine | [15 empty] | : |  |  | -
| Active core diameter [m] | [11 empty] | : |  |  | 2.88 | [11 empty] | HP cylinder inlet steam pressure [MPa] | [15 empty] | : |  |  | 4.4
| Active core height/length [m] | [11 empty] | : |  |  | 2.5 | [11 empty] | Output voltage [kV] | [15 empty] | : |  |  | -
| Number of fissile fuel assemblies/bundles | [11 empty] | : |  |  | 349 | [11 empty] | Primary means of condenser cooling | [15 empty] | : |  |  | -
| Fuel linear heat generation rate [kW/m] | [11 empty] | : |  |  | - | [11 empty] | Number of main condensate pumps | [15 empty] | : |  |  | -
| Number of control rod assemblies | [11 empty] | : |  |  | - | [11 empty] | Number of FW pumps for full power operation | [15 empty] | : |  |  | -
| Number of external reactor coolant loops | [11 empty] | : |  |  | 6 | [11 empty] | Number of on-site safety related diesel generators | [15 empty] | : |  |  | -
| Coolant type | [11 empty] | : |  |  | H2O | [11 empty] | Non-electrical applications | [15 empty] | : |  |  | none
Annual Production Results (2023)
Net Energy Production | [16 empty] | : | 1945.27 GW(e).h | [8 empty] | Forced Loss Rate (FLR) | [15 empty] | : |  |  | 0 %
Energy Availability Factor (EAF) | [16 empty] | : | 0 % | [8 empty] | Unplanned Capability Loss Factor (UCL) | [15 empty] | : |  |  | 0 %
Unit Capability Factor (UCF) | [16 empty] | : | 0 % | [8 empty] | Planned Unavailability Factor (PUF) | [15 empty] | : |  |  | 0 %
Load Factor (LF) | [16 empty] | : | 0 % | [8 empty] | Externally cause unavailability (XUF) | [15 empty] | : |  |  | 0 %
Operating Factor (OF) | [16 empty] | : | 0 % | [8 empty] | Total off-line time | [15 empty] | : |  |  | 624 hours
Annual Summary
|  |  | Jan | Oct |  |  |  | Nov |  | Dec | [8 empty] | Feb |  |  | Mar | [6 empty] | Apr |  | May |  |  |  | Jun |  |  | Jul |  |  | Aug | [9 empty] | Sep
GW(e)-h
EAF [%]
UCF [%]
LF [%]
OF [%]
FLR [%]
UCL [%]
PUF [%]
XUF [%]
Historical Summary
Lifetime energy generation | [11 empty] | : |  |  | 1945.27 GW(e).h | [11 empty] | Cumulative Forced Loss Rate (FLR) | [21 empty] | : | 0 %
Cumulative Energy Availability Factor (EAF) | [11 empty] | : |  |  | 0 % | [11 empty] | Cumulative Unplanned Capability Loss Factor (UCL) | [21 empty] | : | 0 %
Cumulative Unit Capability Factor (UCF) | [11 empty] | : |  |  | 0 % | [11 empty] | Cumulative Planned Unavailability Factor (PUF) | [21 empty] | : | 0 %
Cumulative Load Factor (LF) | [11 empty] | : |  |  | 0 % | [11 empty] | Cumulative Externally cause unavailability (XUF) | [21 empty] | : | 0 %
Cumulative Operating Factor (OF) | [11 empty] | : |  |  | 0 %
Electricity Production (net) [GWh]
Performance for Years of Commercial Operation
Year |  | Energy |  |  | Time Online |  |  |  | Reference Unit Power | [10 empty] | EAF |  |  |  | UCF | [5 empty] | LF |  |  | OF |  |  |  | FLR |  | UCL | [8 empty] | PUF |  |  |  |  | XUF
|  | [GW-h] |  |  | [Hours] |  |  |  | [MW] | [10 empty] | [%] |  |  |  | [%] | [5 empty] | [%] |  |  | [%] |  |  |  | [%] |  | [%] | [8 empty] | [%] |  |  |  |  | [%]
Key Factors in Last 20 Years [%]
Energy Losses by Type
Full Outages, Analysis by Cause
[21 empty] | 2023 | [14 empty] | 1 to 2023
Outage Cause | [20 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
[21 empty] | Planned |  |  |  | Unplanned | [6 empty] | External |  |  |  | Planned |  |  |  | Unplanned | [11 empty] | External
Subtotal
Total | [20 empty] | 0 | [14 empty] | 0
Equipment Related Unplanned Full Outages, Analysis by System
System | [20 empty] | 2023 | [14 empty] | 1 to 2023
[21 empty] | Hours Lost | [14 empty] | Average hours lost per reactor-year
Total
Highlights (2023)
Date Activity 13.1.2023 Beggining of power start-up 31.1.2023 First TG32 synchronisation 4.2.2023 First TG31 synchronisation 18.3.2023 Reactor power achieved 55% 22.9.2023 Reactor power achieved 100% 8.10.-14.10.2023 144 hours trial run test