## Table21_DirectCauseofFullOutage
TABLE 21. DIRECT CAUSES OF FULL OUTAGES, 2016 to 2020
Direct Outage Cause | Planned Full Outages |  |  |  | Unplanned Full Outages
| Energy Lost |  | Time Lost |  | Energy Lost |  | Time Lost
| GW.h | % | Hours | % | GW.h | % | Hours | %
Plant equipment problem/failure |  |  |  |  | 227170 | 88.49 | 277135 | 89.92
Refuelling without maintenance | 172880 | 4.94 | 171627 | 4.28
Inspection, maintenance or repair combined with refuelling | 1639800 | 46.83 | 1829778 | 45.59
Inspection, maintenance or repair without refuelling | 172168 | 4.92 | 310844 | 7.75
Testing of plant systems or components | 15602 | 0.45 | 14769 | 0.37 | 699 | 0.27 | 921 | 0.3
Major backfitting, refurbishment or upgrading activities with refuelling | 104127 | 2.97 | 128804 | 3.21
Major backfitting, refurbishment or upgrading activities without refuelling | 1388218 | 39.64 | 1499170 | 37.35
Nuclear regulatory requirements | 1801 | 0.05 | 4350 | 0.11 | 5397 | 2.1 | 5992 | 1.94
Human factor related |  |  |  |  | 6976 | 2.72 | 7780 | 2.52
Fire |  |  |  |  | 542 | 0.21 | 704 | 0.23
Fuel management limitation (including high flux tilt, stretch out or coast-down operation) | 1542 | 0.04 | 1506 | 0.04 | 368 | 0.14 | 347 | 0.11
Other | 5804 | 0.17 | 52616 | 1.31 | 15579 | 6.07 | 15315 | 4.97
TOTALS | 3501942 | 100.001 | 4013464 | 100.001 | 256731 | 100.001 | 308194 | 100.001
Note:
Only reactors which have achieved full commercial operation in or before 2020 are counted.